Curriculum – 2018

(C-18)

Diploma in Electrical & Electronics Engineering

State Board of Technical Education & Training

Telangana, Hyderabad

III SEMESTER

III SEMESTER

TEACHING AND EXAMINATION SCHEME

| Sl No | Course Code | Course Name | Teaching Scheme |  |  |  |  | Examination Scheme |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Instruction Periods per week |  |  | Total Periods per semester | Credits | Continuous internal evaluation |  |  | Semester end examination |  |  |  |
|  |  |  | L | T | P |  |  | Mid sem1 | Mid sem 2 | Internal evaluation | Max Marks Min Marks |  | Total marks | Min marks for passing including internal |
| 1 | #### 18EE-301F | Applied Engineering Mathematics | 3 | 1 | 0 | 60 | 3 | 20 | 20 | 20 | 40 | 14 | 100 | 35 |
| 2 | 18EE-302C | Electrical Circuits | 3 | 1 | 0 | 60 | 3 | 20 | 20 | 20 | 40 | 14 | 100 | 35 |
| 3 | 18EE -303C | DC Machines and Batteries | 3 | 1 | 0 | 60 | 3 | 20 | 20 | 20 | 40 | 14 | 100 | 35 |
| 4 | 18EE -304C | Electrical and Electronic Measuring Instruments | 3 | 1 | 0 | 60 | 3 | 20 | 20 | 20 | 40 | 14 | 100 | 35 |
| 5 | 18EE -305C | Electronic Circuits | 3 | 1 | 0 | 60 | 3 | 20 | 20 | 20 | 40 | 14 | 100 | 35 |
| 6 | 18EE -306P | Circuits Lab Practice | 1 | 0 | 2 | 45 | 1.5 | 20 | 20 | 20 | 40 | 20 | 100 | 50 |
| 7 | #### 18EE -307P | DC Machines Lab Practice | 1 | 0 | 2 | 45 | 1.5 | 20 | 20 | 20 | 40 | 20 | 100 | 50 |
| 8 | 18EE -308P | Electrical Measurements Lab Practice | 1 | 0 | 2 | 45 | 1.5 | 20 | 20 | 20 | 40 | 20 | 100 | 50 |
| 9 | 18EE -309P | Electronics Lab Practice | 1 | 0 | 2 | 45 | 1.5 | 20 | 20 | 20 | 40 | 20 | 100 | 50 |
| 10 | 18EE 310P | Communication Skills and Life Skills | 1 | 0 | 2 | 45 | 1.5 | 20 | 20 | 20 | 40 | 20 | 100 | 50 |
| 11 |  | Skill Upgradation | 0 | 0 | 7 | 105 | 2.5 | 0 | 0 | Rubrics |  |  | -- | - |
|  |  |  | 20 | 5 | 17 | 630 | 25 | 200 | 200 | 200 | 400 | 170 | 1000 | 425 |
|  | Activities: student performance is to be assessed through Rubrics |  |  |  |  |  |  |  |  |  |  |  |  |  |

APPLIED ENGINEERING   MATHEMATICS

| Course Title | : Applied Engineering Mathematics | Course Code | : 18EE-301F |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Foundation |
| Teaching Scheme in periods ( L : T : P) | : 45:15: 0 | Credits | : 3 |
| Methodology | : Lecture + Assignments | Total Contact Periods | : 60 |
| CIE | : 60 Marks | SEE | : 40 Marks |
| Programmes : Common to all Engineering Diploma Programmes |  |  |  |

Pre requisites

This course requires the knowledge of Basic Engineering Mathematics and Engineering Mathematics at Diploma 1st and 2nd Semester level.

Course Outcomes

At the end of the course, the student will have the ability to:

| CO 1 | Integrate different kinds of functions |
| --- | --- |
| CO 2 | Integrate functions using different methods |
| CO 3 | Find the values of definite integrals. |
| CO 4 | Solve simple problems of Areas, Volumes, Mean and RMS values of various functions |
| CO 5 | Find the Approximate values of Definite integrals using Trapezoidal and Simpson’s 1/3rd rule |
| CO 6 | Form the Differential Equation and Solve Simple DEs of 1st order and 1st degree. |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Indefinite Integration-I | 10 | 4 | 1 |  | 9(a) | 13(a) |
| 2 | Indefinite Integration-II | 8 |  |  |  |  |  |
| 3 | Definite Integral and its Properties | 6 |  | 2 |  | 10(a) | 14(a) |
| 4 | Applications of Definite Integrals | 10 |  |  |  |  |  |
| 5 | Numerical Integration | 8 |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| 6 | Differential Equations Of First Order | 18 |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total |  | 60 | 8 |  |  | 8 | 8 |

Course Contents

Unit-I - Indefinite Integration-I				Duration:  10 Periods (L: 6.0 – T:4.0)

Integration regarded as anti-derivative – Indefinite integral of standard functions.    Properties

of indefinite integral. Integration by substitution or change of variable. Integrals of the form

sinmq. cosn q.  where m and n are positive integers.  Integrals of tan x, cot x, sec x, cosec x

and powers of tan x, sec x by substitution.

Evaluation of integrals which are reducible to the following forms:

i)1a2+x2,1a2−x2,1x2−a2ii)1a2+x2,1a2−x2,1x2−a2iii)x2−a2,x2+a2,a2−x2

Unit – II - Indefinite Integration-II				Duration:  08 Periods (L: 4.8 – T:3.2)

Integration by decomposition of the integrand into simple rational algebraic functions. Integration by parts, Bernoulli’s rule.

Unit-III - Definite Integral and its Properties			Duration:  06 Periods (L: 3.6 – T:2.4)

Definite integral-fundamental theorem of integral calculus, properties of definite integrals, evaluation of simple definite integrals.  Definite integral as the limit of a sum.

Unit – IV - Applications of Definite Integrals			Duration:  10 Periods (L: 6 – T:4)

Area under plane curves – Sign of the Area – Area enclosed between two curves. Solid of revolution – Volumes of solids of revolution.

Unit – V - Numerical Integration				Duration:  08 Periods (L: 4.8 – T:3.2)

Mean values and Root Mean Square values of a function on a given interval. Trapezoidal rule, Simpson’s 1/3 rule to evaluate an approximate value of a definite integral.

Unit – VI - Differential Equations Of First Order       		Duration:  18 Periods (L: 10.8 – T:7.2)

Definition of a differential equation – order and degree of a differential equation – formation of         differential equations – solution of differential equation of first order, first degree : variables -separable, homogeneous, exact, linear differential equation, Bernoulli’s equation.

Recommended Books

1.   Integral Calculus Vol.I, by M.Pillai and Shanti Narayan

2.   Thomas’ Calculus, Pearson Addison –Wesley Publishers

Suggested E-learning references

1. www.freebookcentre.net/mathematics/introductory-mathematics-books.html

2.E-books:www.mathebook.net

Suggested learning outcomes

After completion of the course, the student shall be able to

Unit-I

1.0	Use Indefinite Integration to solve engineering problems

1.1 	Explain the concept of Indefinite integral as an anti-derivative.

1.2 	State the indefinite integral of standard functions and properties of Integrals ò (u + v) dx

And ò ku dx where k is constant and u, v are functions of x.

1.3 	Solve integration problems involving standard functions using the above rules.

1.4 	Evaluate integrals involving simple functions of the following type by the method of

substitution.

i)      ò f(ax + b) dx where   f(x) dx is in standard form.

ii)      ò [f(x)]n  f ¢(x) dx

iii)     ò f¢(x)/[f(x)] dx

iv)     ò f {g(x)} g ¢(x) dx

1.5 	Find the Integrals of tan x, cot x, sec x and cosec x usingthe above.

1.6	Evaluate the integrals of the form ò SinmqCosnq. dq where m and n are positive integers.

1.7 	Evaluate integrals of powers of tan x and sec x.

1.8 	Evaluate the Standard Integrals of the functions of the type

i)1a2+x2,1a2−x2,1x2−a2ii)1a2+x2,1a2−x2,1x2−a2iii) x2+a2,a2−x2,x2−a2

1.9 	Evaluate the integrals of the  type

.

Unit-II

2.0      Use Indefinite Integration to solve engineering problems

2.1 	Evaluate integrals using decomposition method.

2.2 	Evaluate integrals using integration by parts with examples.

2.3 	State the Bernoulli’s rule for evaluating the integrals of the form   u.vdx.

2.4 	Evaluate the integrals of the form  òex [f(x) + f ¢(x)] dx.

Unit-III

3.0 	Understand definite integral and use it in engineering applications

3.1 	State the fundamental theorem of integral calculus

3.2 	Explain the concept of definite integral.

3.3 	Calculate the definite integral over an interval.

3.4 	State various properties of definite integrals.

3.5 	Evaluate simple problems on definite integrals using the above properties.

3.6 	Explain definite integral as a limit of sum by considering an area.

Unit –IV

4.0 	Understand definite integral and use it in engineering applications

4.1 	Find the Areas under plane curves and area enclosed between two curves using  integration.

4.2 	Obtain the Volumes of solids of revolution.

Unit –V

5.0   Understand Mean, RMS values and Numerical Methods

5.1       Obtain the Mean value and Root Mean Square (RMS) value of the functions in any given

Interval.

5.2 	Explain the Trapezoidal rule, Simpson’s 1/3 rules for approximation of definite integrals

andprovide some examples.

Unit –VI

6.0 	Solve Differential Equations in engineering problems.

6.1 	Define a Differential equation, its order and degree

6.2 	Form a differential equation by eliminating arbitrary constants.

6.3   Solve the first order first degree differential equations by the following methods:

i.   	Variables Separable.

ii.          Homogeneous Equations.

iii.        Exact Differential Equations

iv.	Linear differential equation of the form  dy/dx + Py = Q,

where P and Q are functions of x or constants.

v.        Bernoulli’s Equation (Reducible to linear form.)

6.4   Sol ve simple problems leading to engineering applications by using above methods.

Suggested Student Activities

1. Student visits Library to refer Standard Books on Mathematics and collect related material

2. Quiz

3. Group discussion

4. Surprise tests

5. Seminars

6. Home Assignments

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |
| CO2 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |
| CO3 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |
| CO4 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |
| CO5 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |
| CO6 | 3 | 2 | 2 | 1 |  |  | 1 |  |  | 3 | 1,2,3,4,7,10 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-I Examination

Corse Code:18EE-301F						        Duration:1  hour

Course Name: Applied Engineering Mathematics		                      Max.Marks:20

PART-A

Instructions: 		1. Answer ALL questions					04 X 01 = 04

2 Each question carries ONE mark

- Integrate:   ex– sinx + x4

- Find  :   dx

- Write  Bernoulli’s rule of integration

- Find :

PART-B

Instructions:	1. Answer any TWO questions				02 X 03 = 06

2. Each question carries THREE marks

5 a).

Or

5 b) Evaluate  :

6 a).

Or

6 b)..

PART C

Instructions:	1. Answer any TWO questions				02 X 05 = 10

2. Each question carries FIVE marks

7 a).  Evaluatedx

Or

7 b)  Evaluate :

8 a). Find

Or

8 b)  Find

@@@

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-II Examination

Corse Code: 18EE-301F						        Duration:1 hour

Course Name: Applied Engineering Mathematics		                      Max.Marks:20

PART-A

Instructions: 		1. Answer ALL questions					04 X 01 = 04

2 Each question carries ONE mark

- Integrate :

- Evaluate  :

- Evaluate  :

- Write the formula to find area bounded by the curve y= f(x) , x-axis, between the limits x=a  and x =b

PART-B

Instructions:	1. Answer any TWO questions				02 X 03 = 06

2. Each question carries THREE marks

Find the Mean value of the function  y = logx on  [ 1 , e ]

5 a)  Evaluate:

Or

5 b) Evaluate :

6 a).  Find the area bounded by the line 2x + y =8, x-axis and the lines x = 2 and x = 4.

Or

6 b). Find the Volume of the Solid generated by revolving the part of the Circle

From x = 0 to x = 4 about x – axis.

PART C

Instructions:	1. Answer any TWO questions				02 X 05 = 10

2. Each question carries FIVE marks

7 a).  Evaluate:

Or

7 b). Evaluate  :

8 a)  Find the area enclosed between the Parabolas  .

Or

8 b). Find the Volume of the Solid generated by the revolution of the area bounded by the

Ellipse   , about x- axis.

@@@

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code: 18EE-301F						        Duration:2 hours

Course Name: Applied Engineering Mathematics		                      Max.Marks:40 Marks

PART-A

Instructions: 		1. Answer ALL questions					08 X 01 = 08

2 Each question carries ONE mark

1. Integrate:  x7 – 3/x

2. Evaluate: dx

3. Write the formula to find mean value of y = f(x), in the interval (a, b)

4.  Find the Order and Degree of the Differential Equation    .

5   Write Trapezoidal Rule to find the approximate value of.

6.  Write the formula to find RMS value of y = f(x) over the range x=a and x = b.

7.  Solve:

8.  Write the condition for exactness of the differential equation M(x,y)dx + N(x,y)dy =0

PART-B

Instructions:	1. Answer any FOUR questions				04 X 03 = 12

2. Each question carries THREE marks

9 a).   Evaluate:

Or

9 b)  Find the approximate value of by taking n = 6 using Trapezoidal rule.

10 a) Find the area bounded by the Parabola y = x2 – 2x + 1 and x-axis.

Or

10 b) Form the Differential Equation from   where A, B are arbitrary Constants.

11 a) Find the RMS value of  over the range x= 1 and x= e

Or

11 b) Calculate approximate value of   by taking n= 4 using Simpson’s 1/3 rule

12 a) Solve:

Or

12 b) Solve:

PART C

Instructions:	1. Answer any FOUR questions				04 X 05 = 20

2. Each question carries FIVE marks

13 a) Evaluate:  dx

Or

13 b) Find the RMS value of y =  between x = 0 and x = 2

14 a) Find the volume of solid generated by revolving the Ellipse  about Major axis

Or

14 b) Solve:

15 a) A curve is drawn to passing through the points given by the following table:

| x | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| y | 3 | 3.4 | 3.7 | 3.8 | 2.7 | 2.6 | 2.1 |

Calculate the approximate area bounded by the curve , x-axis and the lines x= 1 and x= 4

using Simpson’s 1/3 rule

Or

15 b) Evaluate:   approximately by taking n = 4 using

Simpson’s  1/3 rd Rule.

16 a) Solve :

Or

16 b) . Solve:   Sin2x.

@@@

ELECTRICAL CIRCUITS

| Course Title | : Electrical Circuits Mathematics | Course Code | : 18EE-302C |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Core |
| Teaching Scheme in periods ( L : T : P) | : 45 : 15 : 0 | Credits | : 3 |
| Methodology | : Lecture + Tutorial | Total Contact Periods | : 60 |
| CIE | : 60 Marks | SEE | : 40 Marks |

Pre requisites

This course requires the knowledge of  basic electrical engineering.

Course Outcomes

At the end of the course, the student will have the ability to:

| CO 1 | Apply Kirchhoff’s laws and star delta transformations to complex circuits |
| --- | --- |
| CO 2 | Apply network theorems to solve DC circuits |
| CO 3 | Familiarize the fundamentals of alternating quantities |
| CO 4 | Solve problems on single phase A.C. series circuits |
| CO 5 | Solve problems on single phase A.C. parallel circuits |
| CO 6 | Solve problems on poly phase balanced circuits |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Kirchhoff’s Laws and Star - Delta Transformation | 8 | 4 | 1 |  | 9(a) | 13(a) |
| 2 | Network Theorems | 12 |  |  |  |  |  |
| 3 | Fundamentals of A.C | 8 |  | 2 |  | 10(a) | 14(a) |
| 4 | Single phase A.C. Series Circuits | 12 |  |  |  |  |  |
| 5 | Single phase A.C. Parallel Circuits | 10 |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| 6 | Poly Phase Circuits | 10 |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total |  | 60 | 8 |  |  | 8 | 8 |

Course Contents

UNIT 1 - Kirchhoff’s Laws and Star - Delta Transformation 	           Duration:  8 Periods (L: 6 - T: 2)

Active and Passive circuits -  Junction, branch and loop in circuits -Insufficiency of Ohm’s law to solve complex circuits, Kirchhoff’s laws – Mesh analysis – Nodal analysis - Star - Delta configurations, star-delta transformations.

UNIT 2– Network Theorems				                      Duration:  12 Periods (L: 9 – T: 3)

Ideal Voltage source, Ideal current source- Source transformation technique-Superposition theorem- Thevenin’s Theorem -Norton’s Theorem- Maximum power transfer theorem with  reference to D.C.-Problems on the above.

UNIT 3 – Fundamentals of A.C   			     	             Duration:  8 Periods (L: 6 – T: 2)

Definition of Alternating quantity, cycle, time period, frequency, amplitude, instantaneous value and angular velocity - Average value - effective value/R.M.S value – form factor – peak factor - definitions and derivations - calculations of these values for sine wave, half wave rectified sine wave, full wave rectified sine wave, triangular and square wave forms -  Representation of alternating quantities by equation, graphs and phasor diagrams - Phase and phase difference–Understanding of `j’ notation for alternating quantities ,transformation from polar to rectangular notations and vice-versa.

UNIT 4 - Single phase A.C. Series Circuits      	    	                        Duration:  12 Period (L: 9 – T: 3)

Resistance, inductance and capacitance as circuit elements - concept of reactance, Derive the expression forvoltage, current, impedance, power including waveforms and phasor diagrams in pure resistive, inductive and capacitive circuits - Derive the impedance, current, phase angle, power and power factor in R-L, R-C, L-C &R-L-C series circuits including phasor diagrams. Impedance triangle, phase angle, power factor, active and reactive components of power in above circuits – Definition of Resonance in series circuits and expression for resonant frequency-Q-factor-Importance of Q- factor- Problems on series circuits and series resonance.

UNIT 5 - Single phase A.C. Parallel Circuits	                               Duration:  10 Periods (L:7.5 – T: 2.5)

Derive the impedance, current, phase angle, power and power factor in R-L, R-C, LC &R-L-C parallel circuits including phasor diagrams. Impedance triangle, phase angle, power factor, active and reactive components of current and power in above circuits – Solve simple problems on parallel circuits by vector method and by `j’ notation –Parallel RLC resonance circuit –Condition for resonance in parallel circuit- Q-factor and resonance frequency-problems

UNIT 6 - Poly phase circuits			                              Duration:  10 Periods (L:7.5 – T: 2.5)

Definition of Poly phase - Generation of 2 phase and 3 phase EMF’s -  Representation of 2 phase and 3 phase EMF’s by equations, waveforms and phasors - phase sequence - Current in neutral in 2 phase and  3 phase system -  phasor diagram showing relation between phase and line quantities, Relation between phase and Line values of voltages and currents – 3 phase power equation - Problems on 3 phase balanced circuits –Advantages of poly-phase systems over single-phase systems.

Recommended Books

- Electrical Technology - Vol - I  by B.L. Theraja- S.Chand &co.

- Introduction to Electrical Engg. by  V.K.Mehta

- Electrical Technology by Hughes.

- Problems in Electrical Engg. by Parker Smith

- Engineering Circuit analysis by William Hayt and Jack E,kemmerly-TMH

- Electrical Circuits by A.Chakraborthy- Dhanapat Rai and Sons

- Network and Systems by D. Roy Chowdary- New age international publishers

- Electric Circuit Theory by K. Rajeshwaran-Pearson educations,2004

- Network Analysis by Van Valkenburg, PHI.

- Electrical Circuits by Joseph Edminister- Schaum series

- Fundamentals of Electric circuits – Alexander Sadiku- TMH

- Electric circuits by Mahmood Nahvi, Joseph A Edminister-TMH.

Suggested E-learning references

1. http://electrical4u.com/

2. www.nptel.ac.in

3. https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

4. Fundamentals Handbook of Electrical Science, Module 1, Basic Electrical Theory, Department of Energy, U. S. Department of Energy, June 1992.

5.http://www.freeengineeringbooks.com/electrical-books-download/Electrical-Engineering-basics.php

6. https://electrical-engineering-portal.com/theorems-network-reductions#circuit-theorems

7. https://nptel.ac.in/courses/108102042/

8. https://nptel.ac.in/courses/108108076/

Suggested Learning Outcomes

After completion of the subject, the student shall be able to

  - Differentiate between active and passive circuits.

  - Define junction in circuits

  - Define loop in circuits

  - Define branch in circuits

  - State the limitations of Ohm’s law.

  - State Kirchhoff’s current law

  - State Kirchoff’s voltage law.

  - Solve problems by applying KVL and KCL

  - Explain mesh analysis

  - Explain nodal analysis

  - Solve simple problems on mesh analysis and nodal analysis

  - Explain star and delta circuits

  - Explain the concept of circuit transformation and  equivalent circuits

  - Develop transformation formulae for star- delta transformations

  - Solve problems on star delta transformation

2.1	Define ideal voltage source

2.2       Define ideal current source

2.3	Explain source transformation technique

2.4       Solve simple problems on source transformation

2.5	State Superposition theorem.

2.6	State Thevenin’s theorem.

2.7	State Norton’s theorem

2.8	State maximum power transfer theorem.

(All the theorems with reference to D.C only)

2.9	Derive the condition for maximum power transfer

2.10	Solve simple problems on network theorems

3.1	Define alternating quantity

3.2	Define cycle of an alternating quantity

3.3	Define frequency of an alternating quantity

3.4	Define time period of an alternating quantity

3.5	Define amplitude of an alternating quantity

3.6	Define angular velocity of an alternating quantity

3.7	Define the instantaneous value of an alternating quantity

3.8	Define maximum value of an alternating quantity

3.9	Define average value of an alternating quantity

3.10	Define R.M.S value of an alternating quantity

3.11	Define form factor of an alternating quantity

3.12	Define peak factor of an alternating quantity

3.13	Calculate the maximum value, average value, R.M.S value, form factor and peak factor of sine wave

3.14 	Calculate the maximum value, average value, R.M.S value, form factor and peak factor of half wave rectified sine wave

3.15	Calculate the maximum value, average value, R.M.S value, form factor and peak factor of full wave rectified sine wave

3.16	Calculate the maximum value, average value, R.M.S value, form factor and peak factor of triangular wave

3.17	Calculate the maximum value, average value, R.M.S value, form factor and peak factor of square wave

3.18	Define the terms phase and phase difference (No problems).

3.19	Define j operator.

3.20	Convert polar quantities to rectangular quantities and vice-versa.

4.1	Define the terms resistance, inductance and capacitance

4.2	Define reactance

4.3	Define active power, reactive power and apparent power

4.4	Mention the units of active power, reactive power and apparent power

4.5	Draw current, voltage waveforms, phasor diagram of pure resistive circuit

4.6	Derive the expression for voltage, current, impedance, power in pure resistive circuit

4.7	Draw current, voltage waveforms, phasor diagram of pure inductive circuit

4.8	Derive the expression for voltage, current, impedance, power in pure inductive circuit

4.9	Draw current, voltage waveforms, phasor diagram of pure capacitive circuit

4.10	Derive the expression for voltage, current, impedance, power in pure capacitive circuit

4.11	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-L series circuit

4.12	Derive the expression for voltage, current, impedance, power and power factor in R-L series circuit

4.13	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-C series circuit

4.14	Derive the expression for voltage, current, impedance, power and power factor in R-C series circuit

4.15	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of L-C series circuit

4.16	Derive the expression for voltage, current, impedance, power and power factor in L-C series circuit

4.17	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-L-C series circuit

4.18	Derive the expression for voltage, current, impedance, power and power factor in R-L-C series circuit

4.19	Compute apparent power, active power and reactive of series circuits

4.20	Solve simple problems on R-L, R-C, L-C, R-L-C series circuits

4.21	Define resonance in series circuits

4.22	State the condition for resonance in series circuit

4.23     Derive resonant frequency of single phase series RLC circuit.

4.24	Solve simple problems on series resonance

4.25	Define Q- factor of single phase series RLC circuit

4.26	State the importance of Q-factor.

4.27	Derive the expression for Q-factor of single phase series RLC circuit

4.28	Solve simple problems on Q-factor

5.1	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-L parallel circuit

5.2	Derive the expression for voltage, current, impedance, power and power factor in R-L parallel circuit

5.3	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-C parallel circuit

5.4	Derive the expression for voltage, current, impedance, power and power factor in R-C parallel circuit

5.5	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of L-C parallel circuit

5.6	Derive the expression for voltage, current, impedance, power and power factor in L-C parallel circuit

5.7	Draw current, voltage waveforms, phasor diagram, power triangle, impedance triangle of R-L-C parallel circuit

5.8	Derive the expression for voltage, current, impedance, power and power factor in R-L-C parallel circuit

5.9	Compute apparent power, active power and reactive of parallel circuits

5.10	Solve simple problems on R-L, R-C, L-C, R-L-C parallel circuits

5.11	Solve simple problems on parallel circuits by vector method

5.12	Solve simple problems on parallel circuits by j- notation method

5.13	Define resonance in parallel circuits

5.14	State the condition for resonance in parallel circuit

5.15     Derive resonant frequency of single phase parallel RLC circuit.

5.16	Solve simple problems on parallel resonance

5.17	Define Q- factor of single phase parallel RLC circuit

5.18	Derive the expression for Q-factor of single phase parallel RLC circuit

5.19	Solve simple problems on Q-factor

6.1	 Define the term `Poly Phase’.

6.2	 Explain the method of generation of 2 phase emfs

6.3	Explain the method of generation of 3 phase emfs.

6.4        Write the expressions for Poly phase emfs

6.5	Represent poly phase emfs by phasor diagram

6.6	Represent poly phase emfs by waveforms

6.7	Define phase sequence

6.8	Compute the current flowing neutral conductor in 2-phase system

6.9	Compute the current flowing neutral conductor in 3-phase system

6.10	Derive the relation between line and phase values of current and voltage in 3 phase star circuit

6.11	Derive the relation between line and phase values of current and voltage in 3 phase delta circuits.

6.12	Derive the equation for power in 3 phase circuit.

6.13	Solve simple problems in three-phase system with balanced loads.

6.14	List the advantages of 3 phase system over single phase system.

Suggested Student Activities

- Prepare a chart on various electrical circuit theorems and their practical applications.

- Write a report on practical applications of Single phase AC circuits and Three phase AC  circuits with their operating voltages and other electrical parameters.

3. Visit nearby Industry to familiarize with single phase and poly phase circuits

4. Quiz

5. Group discussion

6. Surprise test

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO2 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1, 2,4,10 |
| CO3 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO4 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO5 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO6 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-I Examination

Corse Code:18EE-302C						        Duration:1  hour

Course Name: Electrical Circuits 			    	                    Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark                4x1 = 4 Marks

- State Kirchhoff’s current law.

- Define junction of an electrical network

- What is an ideal voltage source?

- State Thevenin’s theorem.

PART-B

Answer  two questions. Each question carries three marks                  2x 3 = 6 Marks

- a) Find the magnitude and direction of the unknown currents in below circuit. Given i1 = 10A, i2 = 6A and i5 = 4A.

OR

b)  Convert the below star network to an equivalent delta network if R1=R2=R3=2Ω .

- a)    State how to convert a voltage source to current source with an example.

OR

b) State superposition theorem.

PART-C

Answer  two questions. Each question carries five marks                   2x 5 = 10 Marks

- a)  Find the equivalent resistance between X and Y for the circuit shown below

OR

b) Find the current through 8Ω resistor for the network shown below by using Kirchhoff’s law.

- a)  Determine the current through 10Ω resistor of the network shown below by using Norton theorem.

OR

- Find the value of RL for the given network below so that the power drawn by RL is maximum.

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-II Examination

Corse Code:18EE-302C						        Duration:1  hour

Course Name: Electrical Circuits 			    	                    Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark4x1 = 4 Marks

- Define form factor

- Convert 3+j4 to polar quantity.

- Draw the power triangle of single phase series RC circuit .

- Draw the phasor diagram of pure inductor.

PART-B

Answer  two questions. Each question carries three marks                  2x 3 = 6 Marks

- a) Give the expression of rms value and average value of half wave rectified sine wave.

OR

b)  Define the phase and phase difference of alternating quantities.

- a)    Give the expressions of impedance and power factor of single phase series RL circuit.

OR

b) Give the expressions of Q-factor and resonant frequency of single phase series circuit.

PART-C

Answer  two questions. Each question carries five marks                   2x 5 = 10 Marks

- a) Derive the expression for RMS value and average value of full wave rectified sine wave.

OR

b) Derive the expression for peak factor and form factor of a square wave.

- a)  Derive the expression for resonant frequency of a series RLC circuit.

OR

b) A coil having resistance of 7Ω and inductance of 30 mH is connected to 230V, 50 Hz single phase supply. Calculate the circuit current and power factor.

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code:18EE-302C						        Duration:2 hours

Course Name: Electrical Circuits	   	 	  	              Max.Marks:40Marks

PART-A

Answer all questions                  						8x1 =8 Marks

- Find the current I2 in the below circuit given I1= 10 A and I3 = 7A.

- Define a) Average value and b) RMS value.

- Write the voltage and current relationships in a three phase circuits for a star connected balanced load.

- What is the current through a capacitor C= 10nF connected to a single phase 50V, 50Hz voltage source?

- Define Q-factor.

- State the condition for resonance in parallel circuits.

- Define the term polyphase.

- State any two advantages of 3 phase system over single phase system.

PART-B

Answer  four questions                  						4 x 3  = 12 Marks

- a)  Transform the given delta network to star.

OR

- Find the impedance between A and B in the below circuit when it is energized by v(t) = 100sin314t Volts.

- a)  Determine the average value, RMS value and form factor of single phase AC 230 V, 50Hz full wave rectified sine wave.

OR

b)  Write the expressions for Poly phase emfs and represent them by phasor diagram.

- a) Derive the resonant frequency of single phase parallel RLC circuit.

OR

b) Give the expression for impedance and current of single phase parallel RLC circuit.

- a) Calculate the power in 3 phase balanced resistive circuit connected to 3 phase 440V, 50Hz carrying line current of 0.5A.

OR

b)  Write the expression for power in balanced three phase star circuit and delta circuit.

PART - C

Instructions:   (1) Answer the following questions

(2) Each question carries five marks.			 Marks: 4 X 5 = 20

- a) Find the Thevenins equivalent of the circuit shown below:

OR

- Derive an expression for resonant frequency of a parallel RLC circuit.

- a)  A current of 10A flows through a non-inductive resistance in series with a coil when supplied at 250V, 50Hz. If the voltage across the resistance is 250V and across the coil is 400V, calculate a) impedance of the coil and b) total power consumed by the circuit.

OR

b)  Explain how to generate the 3 phase emf’s with neat figures.

- a)  A parallel RLC circuit with a 16 Ω resistance, 8 Ω inductive reactance, and 20 Ω capacitive reactance is supplied by a 120-V power supply. What are the values of currents through R, L and C, total line current and active power?

OR

b)   A parallel RC circuit has a power supply of 100 V, 60 Hz. A current of 10A flows through the resistor and a current of 10A flows through the capacitor. Calculate the values of line current, true power, reactive power, apparent power and power factor?

- a)  Three identical impedances are connected in delta to a 3-phase 400 V, 50Hz supply. The line current is 34.65 A and the total power taken from the supply is 14.4 kW. Calculate the resistance and reactance values of each impedance.

OR

b) Three coils each having a resistance of 20Ω and inductive reactance of 15Ω are connected in star to a 3-phase, 400V, 50Hz supply. Calculate a) line current, and b) power consumed.

DC MACHINES & BATTERIES

| Course Title | : DC Machines & Batteries Mathematics | Course Code | : 18EE-303C |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Core |
| Teaching Scheme in periods ( L : T : P) | : 45 : 15 : 0 | Credits | : 3 |
| Methodology | : Lecture + Tutorial | Total Contact Periods | : 60 |
| CIE | : 60 Marks | SEE | : 40 Marks |

Pre requisites

This course requires the knowledge of basic principles of electricity and magnetism.

Course Outcomes

At the end of the course, the student will have the ability to:

| CO 1 | Describe the construction and working of D.C Generator |
| --- | --- |
| CO 2 | Compare the performance characteristics of D.C Generators |
| CO 3 | Explain the principle and performance of D.C Motors |
| CO 4 | Compare the performance characteristics of D.C Motors |
| CO 5 | Apply different methods to control the speed of D.C Motor |
| CO 6 | Compare different types of batteries |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Fundamentals of D.C Generators | 12 | Q4 | Q1 |  | Q9(a) | Q13(a) |
| 2 | Armature Reaction and Characteristics of D.C Generator | 08 |  |  |  |  |  |
| 3 | Fundamentals of D.C Motors | 12 |  | Q2 |  | Q10(a) | Q14(a) |
| 4 | Starters, Characteristics and Applications of D.C Motors | 08 |  |  |  |  |  |
| 5 | Speed control and Testing of D.C Motors | 08 |  | Q3 | Q5,Q6 | Q9(b), Q11(a), Q11(b) | Q13(b), Q15(a), Q15(b) |
| 6 | Batteries | 12 |  |  | Q7,Q8 | Q10(b), Q12(a), Q12(b) | Q14(b), Q16(a), Q16(b) |
| Total |  | 60 | 8 |  |  | 8 | 8 |

Course Contents

UNIT 1- Fundamentals of D.C Generators 		                       Duration:  12 Periods   (L: 9  - T: 3)

Dynamically induced   E.M.F-  Fleming’s right hand rule - electromechanical energy conversion - simple loop generator -working principle of D.C generator - construction- functions of each part of D.C generator with neat sketches- windings  -  (i) Lap   (ii) Wave – Compare Lap and wave windings-Classification of generators based on excitation- Voltage and Current equations for different types of D.C Generators with schematic diagrams- E.M.F equation – power stage diagram of DC generator -  losses incurred in the D.C machines-efficiency –condition for maximum efficiency - simple problems

UNIT 2 - Armature Reaction and Characteristics of D.C Generator  Duration : 08 Periods (L:6 - T: 2)

Armature reaction, Demagnetization & Cross magnetization-Derive for ATd, ATc / Pole- simple problems-commutation –methods of improving commutation- O.C.C, internal, external characteristics of Separately excited, Shunt, Series and Compound generators- Conditions for (i) Building up (ii) Non building up of E.M.F.- Critical field resistance and critical speed from O.C.C - parallel operation of generators - Applications of D.C generators – Welding Generator.

UNIT 3– Fundamentals of D.C Motors	                                  Duration:  12 Periods   (L:9  - T:3)

Fleming’s left hand rule - working of D.C motors – classification of DC motors- significance of back E.M.F.    Write the formulas for back E.M.F for different D.C motors-Problems on E.M.F equation-Torque equation-Armature torque (Ta) , shaft torque (Tsh) and loss torque(TL )–Problems on Torque- Different losses-power stages-efficiency-Problems on losses and efficiency.

UNIT4 : Starters,  Characteristics and Applications of D.C Motors       Duration: 08 Periods (L:6– T: 2)

Necessity of starter- 3-point starter, 4-point starter. Electrical and mechanical characteristics of D.C Shunt, Series and compound motors-Applications of D.C motors

UNIT 5 :Speed control and Testing of D.C Motors	                         Duration:  08Periods  (L:6  – T:2)

Necessity of speed control- different methods (Flux, Armature and Voltage) of speed controls for D.C shunt motors-State the advantages and disadvantages of above methods-different methods of speed control for series motors- problems.  Performance curves- Brake test on different types of D.C. Motors- Swinburne’s Test-advantages and disadvantages- problems.

UNIT 6 : Batteries		                                                               Duration:  12 Periods  (L:9 T:3)

Recommended Books

Classification of  cells - primary cells and secondary cells - construction of Lead acid cell - chemical reaction during charging and discharging of  lead acid cell - applications - charging of Batteries – precautions during charging and discharging - trickle charging - indications of full charged battery - capacity of a battery - factors affecting the capacity of the battery - Ampere-Hour efficiency  - Watt- Hour efficiency - problems - flat plate battery - tubular battery - applications - construction of Lithium-ion cell- chemical reaction during charging and discharging - applications - super capacitor - applications - metal air electrochemical cell - refuelable battery - applications -  maintenance free battery – applications - methods of disposing batteries.

1. Electrical Technology –Vol –I by B.L.Theraja.

2. Electrical Technology –Vol –II by B.L.Theraja.

3. Electrical Machines by P.S.Bhimbhra

4. Electrical Machines by M.V.Deshpande

5. Electrical Machines by JB Gupta

Suggested E-learning references

1. http://electrical4u.com/

2. https://nptel.ac.in/syllabus/108106070/

3. https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

4. https://nptel.ac.in/courses/108108076/

5. https://nptel.ac.in/courses/108105053/

Suggested Learning Outcomes

After completion of the subject, the student shall be able to

1.1  Define dynamically induced  E.M.F.

1.2  State Fleming’s right hand rule.

1.3  Define Electromechanical energy conversion.

1.4  Explain the working of simple loop generator.

1.5  State principle of working of D.C generator.

1.6  Describe the construction of DC generator

1.7  State the functions of each part of D.C generator with neat sketches.

1.8  Describe the working of D.C Generator.

1.9  List the types of windings of D.C Machine —  (i) Lap   (ii) Wave.

1.10 Compare lap winding and wave winding

1.11  Classify generators based on excitation.

1.12 Write voltage and current equations for different types of D.C Generators with schematic diagrams.

1.13  Derive the E.M.F equation of D.C generator.

1.14 Solve simple problems on E.M.F equation.

1.15 Explain power stages in D.C. machine

1.16  List the losses incurred in the D.C machines.

1.17  Define efficiency of DC Generator

1.18 Derive the condition for maximum efficiency.

1.19  Solve problems on losses and efficiency .

2.1  Define armature reaction.

2.2  Describe the armature reaction with sketches.

2.3   Describe the phenomenon of demagnetization & cross  magnetization.

2.4  Derive the formula for ATd  , ATc / Pole.

2.5  Solve simple problems on  ATd  , ATc / Pole .

2.6  Define Commutation.

2.7  List the methods to improve commutation.

2.8   Draw and explain O.C.C, internal and external characteristics of Separately excited generator

2.9  Draw and explain O.C.C, internal and external characteristics of Shunt generator.

2.10  Draw and explain O.C.C, internal and external characteristics of Series generator

2.11 Draw and explain O.C.C, internal and external characteristics of Compound generators.

2.12  List the conditions for (i) Building up (ii) Non building up of   E.M.F in DC generators.

2.13  Define critical field resistance and critical speed from O.C.C

2.14 Explain the necessity of parallel operation of DC generators.

2.15 List the conditions for parallel operation of generators. ( No -   Problems)

2.16  State the use of equalizer ring in parallel operation.

2.17  List the applications of D.C generators.

2.18 Describe  the working of  welding  generator with a sketch.

3.1  State Fleming’s left hand rule.

3.2  Describe the working of D.C motors

3.3 Classify D.C motors.

3.4  Write the significance of back E.M.F and its formula.

3.5  Write the formulas for back E.M.F for different D.C motors.

3.6  Solve problems on E.M.F equation.

3.7 Derive  torque equation of D.C motor.

3.8 Develop the formulas for armature torque (Ta), shaft torque (Tsh) and loss torque(TL).

3.9 Solve problems on torque.

3.10  Explain power stages in D.C. motor.

3.11 List the different losses in  D.C motor.

3.12 Define efficiency of D.C motor

3.13  Solve problems on losses and efficiency.

4.1  State the necessity of starter.

4.2  Describe the construction and working of 3-point starter with neat sketch.

4.3  Describe the construction and working of 4-point starter with neat sketch.

4.4  Draw and explain the electrical characteristics of D.C Shunt motor.

4.5  Draw and explain the mechanical characteristics of D.C Shunt motor

4.6  Draw and explain the electrical characteristics of D.C Series motor.

4.7  Draw and explain the mechanical characteristics of D.C Series motor

4.8  Draw and explain the electrical characteristics of D.C compound motor.

4.9  Draw and explain the mechanical characteristics of D.C compound motor

4.10  List the applications of D.C motors

5.1  State the need of  speed control of DC Motors.

5.2  List the different methods of speed controls for D.C shunt motors.

5.3 Describe the speed control of  D.C shunt motor by flux control method

5.4 Describe the speed control of  D.C shunt motor by armature control method

5.5 Describe the speed control of  D.C shunt motor by voltage control method

5.6 List the advantages and disadvantages of  various speed control methods of D.C Shunt

Motor.

5.7  Solve problems on speed control of DC shunt motor

5.8  List the different methods of speed control for D.C series motors.

5.9 Describe the speed control methods of  D.C series motor.

5.10  List the advantages and disadvantages of speed control methods of D.C series motor.

5.11 Solve problems on speed control of DC series motor

5.12  State and explain the different performance curves.

5.13  Describe the method of conducting  brake test on  D.C shunt motor with neat sketch

5.14 Describe the method of conducting  brake test on  D.C series motor with neat sketch

5.15 Describe the method of conducting  brake test on  D.C compound motor with neat sketch

5.16 List the advantages and disadvantages of brake test on different types of D.C Motors.

5.17 Solve problems on brake test on different types of D.C Motors.

5.18 Describe the method of conducting Swinburne’s test.

5.19 Solve problems on Swinburne’s test

5.19 List the advantages and disadvantages of Swinburne’s test.

6.1 Classify cells

6.2 Define primary cells and secondary cells

6.3 Compare primary and secondary cells

6.4 Name types of storage cells

6.5 Describe the construction of Lead acid cell.

6.6 Write chemical reaction during charging and discharging of  lead acid cell

6.7  List the applications of Lead acid cell

6.8 Describe charging of Batteries by 	a) Constant current method b) Constant voltage method

6.9 List the precautions during charging and discharging.

6.10 Define trickle charging

6.11 List the indications of full charged battery.

6.12 Define capacity of a battery

6.13 List the factors affecting the capacity of the battery

6.14 Define efficiency of a battery : a) Ampere-Hour efficiency b) Watt- Hour efficiency

6.15 Solve problems on the Ampere-Hour efficiency and Watt-Hour efficiency

6.16 Compare flat plate and tubular battery

6.17 List the applications of flat plate battery

6.18 List the applications of tubular battery

6.19 Describe the construction of Lithium-ion cell.

6.20 Write chemical reaction during charging and discharging of Lithium-ion battery

6.21 Give the applications of Lithium-ion cell

6.22 State the importance of super capacitor

6.23 List the applications of super capacitor

6.24 Describe the working of metal air electrochemical cell

6.25 List the applications of metal air battery

6.26 State the importance of refuelable battery

6.27 List the applications of refuelable battery

6.28 Define maintenance free battery

6.29 List the applications of maintenance free batteries

Suggested Student Activities

6.30 List different methods of disposing batteries.

- Prepare charts on types of starters used for various DC motors clearly labeling the parts.

- Visit nearby shop or show room which sells batteries and inverters (UPS) and prepare a report on the observations made during visit.

- Identify a faulty battery and service the same using standard tools.

- Prepare a report of the conditions of batteries available in the Institute.

- For given voltage, current, Ah ratings of individual cell, and required voltage and current rating of battery, prepare a report of calculations for number of cells and their method of connections.

- Visit any industry and write a report on the DC machines used in that industry

- Prepare a chart on DC motor speed control techniques

- Make charts of various types of DC motors and generators electrical equivalent circuit diagrams clearly indicating voltages and currents flowing in the machine. Also write the formulae of armature current, field current, line or load current, terminal voltage and back emf or induced emf

9. Quiz

10. Group discussion

11. Surprise test.

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO2 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1, 2,4,10 |
| CO3 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1,2,4,10 |
| CO4 | 3 | 3 |  |  |  |  |  |  |  | 3 | 1,2,10 |
| CO5 | 3 | 3 |  | 1 |  |  |  |  |  | 3 | 1, 2,4,10 |
| CO6 | 3 | 3 |  | 1 |  | 2 | 2 |  |  | 3 | 1,2,4,6,7,10 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5, 6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7, 8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III semester Mid Semester-I Examination

Corse Code:18EE-303C						        Duration:1  hour

Course Name: DC Machines & Batteries		    	                    Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark                            4x1 = 4 Marks

- Write the condition for maximum efficiency.

- State the function of yoke in a DC generator

- List the different effects of armature reaction in a DC machine?

- Draw the O.C.C of a self excited DC generator.

PART-B

Answer  two questions. Each question carries three marks                     2x 3 = 6 Marks

5  a) Draw the power flow diagram of a DC generator.

OR

b) Compare lap winding and wave winding in any three aspects.

6.	a) List the conditions to be satisfied for parallel operation of dc generators?

OR

b) Define commutation and list the methods to improve it.

PART-C

Answer  two questions. Each question carries five marks                   2x 5 = 10 Marks

- a) A long shunt compound generator delivers a load current of 400A at a terminal voltage of 250V. The armature resistance, series field and shunt field resistances are 0.04 ohm, 0.01 ohm and 125 ohms respectively. Calculate the generated emf and armature current. Allow 1 V per brush contact drop.

OR

b) Derive the EMF equation of a DC Generator.

- a)  Derive the equation for demagnetizing ampere turns per pole

OR

b)  Describe the working of welding generator.

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III semester Mid Semester-II Examination

Corse Code:18EE-303C						        Duration:1  hour

Course Name: DC Machines & Batteries		    	                    Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark                                   4x1 = 4 Marks

- Draw the connection diagram of a D.C shunt motor

- Define armature torque

- Draw the torque Vs armature current characteristics for a D.C shunt motor.

- List any two application of D.C shunt motor

PART-B

Answer  two questions. Each question carries three marks                          2x 3 = 6 Marks

- a)  Write the significance of back E.M.F and its formula

OR

b)  State Fleming’s Left hand rule

- a)  Why starter is required for starting a D.C Motor

OR

b)  State the function of Hold on coil and over load release of a 3 point starter.

PART-C

Answer  two questions. Each question carries five marks                        2x 5 = 10 Marks

- a)    Derive the torque equation of a D.C Motor

OR

b)  A 440 V shunt motor has armature resistance of 0.8 ohm and field resistance of 200 ohms.

Determine the back e.m.f when giving an output of 7.46 KW at 85% efficiency.

- a)  Draw 3 point starter and label the parts.

OR

b) Draw and explain the mechanical characteristics of D.C series motor.

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code:18EE-303C						        Duration:2 hours

Course Name: DC Machines & Batteries   	 	  	              Max.Marks:40Marks

PART-A

Answer all questions                  						8x1 =8 Marks

- Define armature reaction.

- Draw the electrical characteristics of a DC series motor.

- Mention the speed control method of a DC shunt motor which gives speed above normal speed

- Write the voltage equation of a  Dc shunt generator.

- List the factors on which the speed of DC motor depends.

- List any one advantage of speed control of DC motor by flux control method.

- List any two applications of lead acid battery.

- List the methods of battery charging.

PART-B

Answer  four questions                  			                             4 x 3  = 12 Marks

- a) Classify d.c generators based on excitation.

OR

b) Draw the performance curves of DC series motor.

10.	a)  Why starter is required for starting a Dc motor.

OR

b) Define trickle charging

11. a)  List the speed control methods of  DC shunt motor.

OR

b)   Mention any three advantages of Brake test on DC shunt motor.

12. a)  Compare Primary cells and secondary cells in any three aspects.

OR

b)  List the indications of fully charged battery.

PART-C

Answer  four questions                                                                                 4 x 5 = 20 Marks

- a) A 10KW, 250 V Dc shunt generator has total iron and friction losses of 600W. Its armature and shunt field resistances are 0.5Ω and 125Ω respectively. Calculate efficiency at rated load.

OR

b) Explain the speed control of Dc series motor by field diverter.

- a) Describe the working of D.C motor

OR

b)  List any five applications of Lithium ion battery.

15.  a)  Describe  Brake test  on a Dc shunt motor with a neat sketch.

OR

b) A 500 V Dc shunt motor runs at its normal speed of 250 rpm when the armature current is 200A. The resistance of armature is 0.12Ω. Calculate the speed when a resistance is inserted in the field reducing the shunt field to 80% of normal value and the armature current is 100A.

16.a)  Explain the charging of a battery by constant voltage method.

OR

b) A lead acid cell is discharged of steady current of 5A for 11 hours. The average terminal voltage being 1.8 V. To restore it to its original state of charge a current of 3A for 30 hours is required, the average terminal voltage being 2.2V. Calculate the ampere hour efficiency(AH) and watt hour efficiency(WH).

ELECTRICAL AND ELECTRONIC MEASURING INSTRUMENTS

| Course Title | : Electrical and Electronic Measuring Instruments Mathematics | Course Code | : 18EE-304C |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Core |
| Teaching Scheme in periods ( L : T : P) | : 45 : 15 : 0 | Credits | : 3 |
| Methodology | : Lecture + Tutorial | Total Contact Periods | : 60 |
| CIE | : 60 Marks | SEE | : 40 Marks |

Pre requisites

This course requires the knowledge of basic principles of electricity and simple mechanical terms.

Course Outcomes

At the end of the course, the student will have the ability to:

| CO 1 | Classify measuring instruments |
| --- | --- |
| CO 2 | Select suitable meter depending on the type of application |
| CO 3 | Measure various electrical parameters using electromechanical measuring instruments |
| CO 4 | Measure R, L, C parameters |
| CO 5 | Describe various transducers and sensors |
| CO 6 | Compare various electronic and digital instruments |

BLUE PRINT OF MARKS FOR SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Basics of Measuring Instruments | 8 | 4 | 1 |  | 9(a) | 13(a) |
| 2 | Voltage and Current Measuring Instruments | 12 |  |  |  |  |  |
| 3 | Power and Energy Measuring Instruments | 12 |  | 2 |  | 10(a) | 14(a) |
| 4 | Measurement of Basic Circuit Elements | 08 |  |  |  |  |  |
| 5 | Transducers and Sensors | 10 |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| 6 | Electronic & Digital Instruments | 10 |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total |  | 60 | 8 |  |  | 8 | 8 |

Course Contents

UNIT 1 -  Basics of Measuring Instruments		                             Duration:  8 Periods   (L:6 - T: 2)

Definitions  of accuracy, precision, error, resolution and sensitivity - important electrical quantities to be measured - their units -names of instruments to measure them  classification of instruments different types of torques (deflection, controlling and damping torques) in the indicating instruments  types of errors.

UNIT 2 – Voltage and Current Measuring Instruments                  Duration:  12 Periods  (L:9 – T:3)

M.C. and M.I types of ammeters and voltmeters  their construction and working – errors – remedies –  comparison  shunts and multipliers for M.C instruments – problems on shunts and multipliers for M.C instruments  Dynamometer type ammeter, voltmeter and wattmeter–construction, working, and errors in them.

UNIT 3 – Power and Energy Measuring Instruments                          Duration: 12 Periods (L:9 – T:3)

Need for instrument transformers  applications of instrument transformers - measurement of power  measurement of energy – single phase induction type energy meter construction and working, error and adjustments –construction and connections of a three  phase energy meter   construction and working of weston synchroscope.

UNIT 4 – Measurement of Basic Circuit Elements	                      Duration:  8 Periods  (L: 6 – T:2)

Classification of resistance methods of  resistance measurement  -basic Ohmmeter circuit– difference in series and shunt type ohmmeters   construction and working of megger– measuring earth resistance using Megger  – working  principle, construction and applications of potentiometer - measurement of inductance – measurement of capacitance.

UNIT 5 – Transducers and Sensors	                                       Duration:  10 Periods  (L: 7.5 – T:2.5)

Definition of transducer  need of transducer  classification of transducers  factors influencing selection of transducer  applications of transducers– thermocouple  thermister  working principle and use of strain gauge  construction, working and use of LVDT basic concept of sensors and its applications– semiconductor sensors.

UNIT 6 – Electronic & Digital Instruments		                 Duration:  10 Periods  (L:7.5 – T:2.5)

Basic components of analog electronic instruments   working of rectifier type voltmeter and ammeter basic components of digital (digital electronic)  instruments  advantages of digital instruments over analog instruments  types of digital voltmeters specifications of digital voltmeter  working of digital multimeter and its specifications working of single phase digital energy meter with block diagram  working of three phase digital energy meter with block diagram  working of digital frequency meter with block diagram – phasor measurement unit  use of tongtester (clamp meter) – comparison between digital and electromechanical measuring instruments.

Recommended Books

1. A.K.Sawhney  Electrical and Electronic measuring instruments –Dhanpat Rai & Sons.

2. E.W.Golding and F.C.Widdis – Electrical Measurements and measuring instruments–Wheeler publishers.

3. David A Bell  Electronic Instrumentation and Measurements–Oxford.

4. B.L.Theraja Electrical Technology - S.Chand & Co.

5. Khandpur  Modern Electronic Equipment

6.  J.B.Gupta Electrical and Electronic measuring instruments.

7.  Harris  Electrical measurements

8.  K.B.Bhatia Study of Electrical Appliances and Devices– Khanna Publishers

Suggested E-learning references

1. http://electrical4u.com/

2. www.nptel.ac.in

3. https://ocw.mit.edu/courses/electrical-engineering-and-computer-science/

4. https://nptel.ac.in/courses/108105053/

Suggested Learning Outcomes

After completion of the subject, the student shall be able to

1.1 Define  the  following  terms  related  to  measuring instruments

i) accuracy   ii)precision iii)error   iv)resolution    v) sensitivity

1.2 List any six important electrical quantities to be measured by giving their units

1.3 Mention the names of instruments to measure the various electrical quantities.

1.4 Classify instruments on the basis of  construction and output as analog and digital instruments.

1.5 Classify the electro mechanical instruments according to principle of working.

1.6 Classify the instruments on basis of method of measuring  the value  as  absolute  and  secondary instruments.

1.7 Distinguish between absolute and secondary instruments

1.8 State the types of secondary instruments (indicating, integrating and recording) by giving suitable examples.

1.9 State the purpose of obtaining deflecting, controlling and damping torques in indicating instruments.

1.10 Explain the methods of obtaining i) deflecting torque ii) controlling torque and  iii) damping torque in indicating instruments.

1.11 Classify the errors according to its source (gross, systematic and random)

2.1 Describe the construction of permanent magnet moving coil instrument.

2.2 Explain the working of permanent magnet moving coil instrument (voltmeter/ammeter).

2.3 Solve simple problems on deflecting torque Td=NBIA

2.4 List the three types of errors commonly occurring in moving coil (M.C.) instruments.

2.5 Mention the remedies for the commonly occurring errors in M.C instruments.

2.6 State advantages and disadvantages of M.C instruments.

2.7 List the applications of M.C instruments.

2.8 Describe the construction and working of moving iron (M.I) i) Attraction type Instrument ii) Repulsion    type Instrument.

2.9 List the errors commonly occurring in M.I. Instruments.

2.10 State the advantages  and disadvantages  of   M.I. instruments.

2.11 Compare M.C. and M.I instruments.

2.12Describe the method of extending the range of moving coil ammeter with the help of  shunt.

2.13 Describe the method of extending the range of moving coil voltmeter with the help of multiplier.

2.14 Solve the problems on shunts and multipliers used for moving coil instruments.

2.15 Describe the construction of dynamometer type instruments

2.16 Explain the working of dynamometer type instruments

2.17 List the common errors in the dynamometer instruments.

2.18 List the advantages and disadvantages of dynamometer instruments.

3.1 State the need for instrument transformers (current transformer–CT and potential transformers PT).

3.2 List the applications of CT and PT.

3.3 State the precautions when using CT.

3.4 Draw the circuit diagram for measuring power with wattmeter in single– phase circuit in conjunction with instrument transformers.

3.5 Draw the circuit diagram and explain the methods of measuring power and power factor in 3– phase circuit using single, two and three wattmeters

3.6 Describe the construction of a 1phase induction type energy meter.

3.7 Explain the working of a 1phase induction type energy meter.

3.8 Define meter constant.

3.9 State the common errors and their remedies in 1phase energy meter.

3.10 Describe construction and connections of a 3phase energy meter.

3.11 Describe the construction of Weston synchroscope.

3.12 Explain the working of Weston synchroscope.

4.1 Classify the resistance into low, medium and high values giving examples for each.

4.2 List the methods of measurement of i) low resistance ii) medium resistance and iii) high resistance

4.3 Draw the circuit diagram of basic ohmmeter.

4.4 Explain the working of basic ohmmeter.

4.5 Describe series type ohmmeter.

4.6 Describe shunt type ohmmeter.

4.7 Distinguish between shunt and series ohmmeters.

4.8 Describe the construction of megger.

4.9 Explain the working of megger.

4.10 Explain the method of measurement of earth resistance using earth megger. (construction and working of earth megger is not required).

4.11 Describe the construction of  basic potentiometer with a legible sketch.

4.12 Explain the working of  basic potentiometer with a legible sketch.

4.13 Explain the measurement of unknown resistance using potentiometer.

4.14 List the applications of potentiometer.

4.15 List various bridges used to measure inductance.

4.16 List various bridges used to measure capacitance.

5.1  Define transducer.

5.2  State the need of transducers in measurement systems.

5.3  Classify  transducers

i) based on the principle of transduction ii) as primary and secondary   iii) as passive and active    iv) as analog and digital     v) as transducers and inverse transducers

5.4  Explain the factors influencing the choice of transducer.

5.5  State the applications of transducers.

5.6  Explain the use of thermocouple for the measurement of temperature.

5.7  Explain  the  measurement  of   temperature  using thermister in a bridge circuit.

5.8  State the working principle of strain gauge.

5.9  Describe the construction of Linear Variable Differential Transformer(LVDT).

5.10 Explain the working of LVDT.

5.11 State the advantages and disadvantages of LVDT.

5.12 Explain the concept of sensor.

5.13 List the applications of sensors.

5.14 Explain semiconductor sensors.

6.1  List  the  basic  components  of  analog  electronic instruments.

6.2  List various analog electronic instruments.

6.3   Explain the working of rectifier type voltmeter and ammeter.

6.4  List the basic components of digital (digital electronic) instruments.

6.5  List the advantages of digital instruments over analog instruments.

6.6  List the types of digital voltmeters.

6.7  Mention the specifications of digital voltmeter.

6.8   Explain the working of digital multimeter by giving its specifications.

6.9   Explain the working of single phase digital energy meter with block diagram.

6.10 Explain the working of three phase digital energy meter with block diagram.

6.11 Explain the working of digital frequency meter with block diagram.

6.12 Describe the working principle of phasor measurement unit with block diagram

6.13 List the applications of phasor measurement units

6.14 State the uses of   t ong tester (clamp meter).

6.15 Compare digital and electromechanical measuring instruments.

Suggested Student Activities

- Prepare a report on the methods adopted for calibration of digital energy meters in TSSPDCL/TSNPDCL.

- Prepare a report on various meters used in nearby industries or substations.

- Visit any nearby factory / industry and prepare a report on applications of various transducers in that industry clearly mentioning the purpose.

- Using megger, determine the earth resistance of the earth pit at your college and prescribe suitable measures to maintain the earth resistance at optimum value

- Prepare posters indicating usage of suitable meters/ instruments with circuits to measure current, voltage, power and energy in DC and AC (Single phase) circuits

- Mini project on measurement methods of Resistance, Inductance and Capacitance

- Student visits lab to identify the available electrical measuring instruments

- Visit MRT division Electricity Department to understand the testing and repair of various measuring instruments. Write a report on observations.

- Visit any Electrical / Electronic Measuring Instrument manufacturing industry to observe and understand the construction and working of various meters. Write a Report on observation.

- Quiz

- Group discussion

- Surprise test

- Assignment

- Seminar

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 |  | 3 |  |  |  |  |  |  |  | 1 | 2, 10 |
| CO2 | 1 | 3 |  |  |  |  |  |  |  | 1 | 1, 2, 10 |
| CO3 | 1 | 3 |  |  |  |  |  |  |  | 1 | 1, 2, 10 |
| CO4 | 2 | 3 |  |  |  |  |  |  |  | 1 | 1, 2, 10 |
| CO5 | 1 | 3 |  |  |  |  |  |  |  | 1 | 1,2,10 |
| CO6 | 1 | 3 |  |  |  |  |  |  |  | 1 | 1,2,10 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5,6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7,8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-I Examination

Corse Code:18EE-304C						       	 Duration:1  hour

Course Name: Electrical & Electronic Measuring Instruments                	Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark4x1 = 4 Marks

- Define accuracy related to measuring instruments.

- Classify errors  according  to  its  source.

- List the three types of errors commonly occurring in moving coil instruments.

- List the advantages of dynamometer instruments.

PART-B

Answer  two questions. Each question carries three marks                  2x 3 = 6 Marks

- a) List any six important electrical quantities to be measured by giving their units.

OR

b)  State the purpose of obtaining damping torque in indicating instruments.

- a)  List the applications of moving coil instruments.

OR

- Compare moving coil and moving iron instruments in any three aspects.

PART-C

Answer two questions. Each question carries five marks                   2x 5 = 10 Marks

- a) Explain the methods of obtaining controlling torque in indicating instruments.

OR

b)  Distinguish between absolute and secondary instruments.

- a)  Explain the working of permanent magnet moving coil instrument.

OR

- Describe the method of extending the range of moving coil ammeter with the help of shunt.

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III semester Mid Semester-II Examination

Corse Code:18EE-304C						        Duration:1  hour

Course Name: Electrical & Electronic Measuring Instruments                 Max.Marks:20

PART-A

Answer all questions, Each Question carries one mark      4x1 = 4 Marks

- List the applications of current transformer

- State the need for instrument transformers

- List the applications of potentiometer

- List various bridges used to measure capacitance

PART-B

Answer  two questions. Each question carries three marks                  2x 3 = 6 Marks

- a) State the precautions when using CT.

OR

b)  State the common errors in 1phase energy meter.

- a)  Draw the circuit diagram of basic ohmmeter.

OR

- Write various methods of measuring high resistance.

PART-C

Answer two questions. Each question carries five marks                   2x 5 = 10 Marks

- a) Describe the construction of Weston synchroscope.

OR

b)  Draw the circuit diagram for measuring power with wattmeter in single– phase circuit in conjunction with instrument transformers.

- a)  Explain the working of  basic potentiometer with a legible sketch.

OR

- Distinguish between shunt and series ohmmeters in any five aspects.

State Board of Technical Education and Training,Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code:18EE-304C						        Duration:2 hours

Course Name: Electrical & Electronic Measuring Instruments              Max.Marks:40Marks

PART-A

Answer all questions                  						8x1 =8 Marks

- Define resolution of a measuring instrument.

- State  the  need  for  instrument  transformers.

- Define transducer.

- List various bridges used to measure inductance.

- List the applications of  sensors.

- Classify  transducers based on the principle of transduction.

- State the uses of   t ong tester.

- List the types of digital voltmeters.

PART-B

Answer  four questions                  			4 x 3  = 12 Marks

- a)  State the types of secondary instruments.

OR

- State the applications of  transducers.

- a)  State the precautions while using current transformer.

OR

b)  List the advantages of digital instruments over analog instruments.

- a) State the disadvantages of  Linear Variable Differential Transformer.

OR

b) State the working principle of strain gauge.

- a) List   the   basic   components   of   analog   electronic instruments.

OR

b)  Mention the specifications of digital voltmeter.

PART-C

Answer  four questions                                                    4 x 5 = 20 Marks

- a)  Describe the method of extending the range of moving coil voltmeter with the help of multiplier.

OR

- Explain the use of thermocouple for the measurement of temperature.

- a)  Explain  the  working  of  basic  ohmmeter.

OR

b)  Explain  the  working  of  rectifier  type  voltmeter.

- a)  Describe the construction of Linear Variable Differential Transformer.

OR

b)   Explain the factors influencing the choice of  transducer.

- a)  Explain the working of digital multimeter.

OR

b) Explain the working of digital frequency meter with block diagram.

ELECTRONIC CIRCUITS

| Course Title | : Electronic Circuits Mathematics | Course Code | : 18EE-305C |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Core |
| Teaching Scheme in periods ( L : T : P) | : 45 : 15 : 0 | Credits | : 3 |
| Methodology | : Lecture + Tutorial | Total Contact Periods | : 60 |
| CIE | : 60 Marks | SEE | : 40 Marks |

Pre requisites

Basic knowledge of semiconductor devices and basic electrical and electronics principles.

Course Outcomes

At the end of the course, the student will have the ability to:

| CO 1 | Realize rectifier and regulated power using diode, zener diode |
| --- | --- |
| CO 2 | Describe the construction and applications of FET |
| CO 3 | Apply biasing to stabilize operating point of a transistor |
| CO 4 | Develop various amplifier applications of BJT |
| CO 5 | Construct various op-amp circuits |
| CO 6 | Apply feedback to construct oscillators circuits using BJT |

Blue Print of Marks for SEE

| Unit No | Unit Name | Periods | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | R |  |  | U | A |
| 1 | Diode Applications | 8 | 4 | 1 |  | 9(a) | 13(a) |
| 2 | Field Effect Transistors | 12 |  |  |  |  |  |
| 3 | Transistor Biasing | 8 |  | 2 |  | 10(a) | 14(a) |
| 4 | Transistor Amplifiers | 12 |  |  |  |  |  |
| 5 | Op-amp and applications | 12 |  | 3 | 5, 6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| 6 | Oscillators | 8 |  |  | 7, 8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total |  | 60 | 8 |  |  | 8 | 8 |

Course Contents

UNIT 1 – Diode Applications      			                              Duration:  08 Periods   (L: 6 - T: 2)

Diode: Ideal and Practical Model, Concept of Diode as Switch,  Series and Shunt Clippers (Unbiased).  Rectifiers: Definition – Ripple Factor, Ripple Frequency, Efficiency, PIV. Half-wave rectifier: Realization using Ideal diodes, Operation and wave forms for R-Load. Full-wave Rectifier: Realization using Ideal Diodes, Operation and waveforms of Centre-tapped and Bridge Configuration for R-Load. Filters: Need, Types of Filter. Voltage regulated power supply using Zener Diode-problems

UNIT 2 - Field Effect Transistors		                                      Duration:  12 Periods   (L:9 - T: 3)

Classification of FET, JFET –N-channel JFET- construction, working and characteristics, Specifications – Drain Saturation current, Amplification Factor, Dynamic drain resistance, Trans-conductance and relation among them Application of JFET-variable voltage resistor- Comparison between FET And BJT MOSFETS: Symbol of N-channel and P- channel Enhancement Type MOSFETs, N-Channel Enhancement Type MOSFET- construction, working- drain and transfer characteristics. N-Channel Depletion Type - construction, working- drain and transfer characteristics -Applications of MOSFETS-Handling precautions of MOSFET

UNIT 3 - Transistor Biasing		                            		    Duration:  08 Periods   (L: 6 - T: 2)

Need for transistor biasing, Dc load line, operating point, Stability factor, Expression for Stability factor for Collector to Base bias and potential divider bias methods for transistor

UNIT 4 - Transistor Amplifiers			       		    Duration:  12 Periods   (L: 9 - T: 3)

Amplifier: definition, faithful amplification, Classification of Amplifiers, Transistor CE amplifier with biasing. Multistage amplifiers: Need, Definition-Gain, Frequency response, decibel Gain, Bandwidth, expression for voltage gain-Problems- Coupling methods, Working and Frequency Response of two-stage R.C coupled, transformer coupled and Direct coupled Amplifiers and their applications, Comparison among different types of coupling. Power amplifier: Need, Comparison between voltage and power amplifier, classification of power amplifiers, Class B- Push pull amplifier and complementary-symmetry push-pull amplifier

UNIT 5 - Op-amp and applications					    Duration:  12 Periods   (L: 9 - T: 3)

Basic differential amplifier: Working principle. Op-amp: Block diagram, pin diagram of IC741, ideal and practical characteristics.  Op-amp parameters: Input offset voltage, input offset current, CMRR, input and output impedance, gain, gain-bandwidth product, slew-rate. Open-loop configuration: -limitation-use as comparator. Closed-loop configuration: Concept of virtual ground, applications - inverting, non-inverting, voltage follower, scale-changer, summing amplifiers, differentiator, integrator-Simple problems.

UNIT 6 - Oscillators                                                                 		     Duration:  08 Periods   (L:6 - T: 2)

Concept of feedback and types- open and closed loop gains - Barkhausen criteria- LC Tank circuit and stability. Working of Hartley, Colpitts and RC phase-shift oscillator; Working of UJT relaxation oscillators. Mention on applications and features of these oscillators.

Recommended Books

- Electronic Devices and circuits by David. A. Bell, 4th ed., PHI

- Electronic Device and circuits –T. F. Bogart Jr., J. S. Beasley and G. Rico., Pearson Education, 6th edition, 2004

- Electronics Principles - Albert Malvino, J. Bates, 7th ed., Tata Mc Graw Hill Education (TMH) publishers

- Electronic Device and Circuits, 2nd ed. , S. Salivahanan, N. Suresh Kumar, A Vallavaraj, Tata Mc Graw Hill Education (TMH) publishers, 2008

Suggested E-learning references

- https://www.explainthatstuff.com/electronics.html

- https://onlinecourses.nptel.ac.in/noc17_ee02/preview

- https://www.electronicshub.org/diy-projects/

- https://www.tutorialspoint.com/amplifiers/index.htm

Suggested Learning Outcomes

After completion of the subject, the student shall be able to

- Define ideal diode.

- Define practical diode.

- Explain the use of  diode as a switch.

- What is meant by clipper

- List the various types of clipper circuits

- Describe the operation of series and shunt clippers with help of circuit diagrams and waveforms

- Define rectifier and list the different types of rectifiers.

- Define the terms a) Ripple factor b)Ripple frequency c)Efficiency d) Peak Inverse Voltage of diode for a rectifier.

- Explain the operation of half-wave rectifier circuit with waveforms and circuit for a R-load.

- Explain the operation of full-wave center-tapped rectifier circuit with waveforms and circuit for a R-load.

- Explain the operation of full-wave bridge rectifier circuit with waveforms and circuit for a R-load.

- Define filter and state its need in DC power supplies

- List various types of filter used in power supplies

- Explain the operation of Zener diode voltage regulator.

- Design a voltage regulated power supply using Zener diode-Problems

- Classify FET based on construction.

- Explain the operation and characteristics of  N- channel JFET  with a sketch.

- Define Pinch-off voltage of JFET.

- List the important specifications of JFET

- Define important parameters of JFET and obtain relation among them.

- Compare JFET and BJT

- Explain why BJTs are called bipolar devices while FETs are called unipolar devices

- Briefly describe some applications of JFET.

- Explain how FET is used as a voltage variable resistor

- Define a MOSFET.

- List the types of MOSFET and give their symbols

- Explain the construction and principle of operation about Enhancement type N-channel MOSFET

- Explain the construction and principle of operation about Depletion type N-channel MOSFET

- List  few applications of MOSFET.

- List the handling precautions of MOSFET

- Explain the operation of transistor as an amplifier.

- Explain the concept of DC load line.

- Determine the Q point (operating point) on the DC load line.

- State the necessity of proper biasing for a transistor amplifier.

- List the causes for instability of biasing in a transistor amplifier.

- Explain the need for stabilization and define the stability  factor

- Explain collector to base biasing method.

- Explain potential divider biasing method.

- Define an Amplifier and faithful amplification.

- Classify amplifiers on the basis of frequency, function, type of load, period of Conduction and Number of stages.

- Draw the practical transistor CE amplifier and explain the function of each component

- Explain the need for multistage amplifier.

- Define the terms gain, decibel gain, frequency response and band width of an amplifier.

- Solve simple problems related to gain and decibel gain of multi-stage amplifiers.

- Explain the principle of operation and frequency response of two stage RC coupled amplifier with circuit diagram

- Explain the principle of operation and frequency response of two stage transformer coupled amplifier with circuit diagram

- Explain  the  principle  of  operation  of  direct  coupled  amplifier with circuit diagram

- Compare different types of couplings.

- List applications of RC coupled, Transformer coupled and direct coupled amplifiers.

- State the need for a power amplifier.

- Distinguish  between  voltage  amplifiers  and  power  amplifiers

- Explain the working of class-B push-pull power amplifier.

- Explain the working principle of complementary push pull power amplifier

- Define and explain the working of differential amplifier.

- Explain the block diagram of operational amplifier.

- Define differential and common mode gain.

- Draw the symbol of op-amp and mark terminals.

- Draw the pin configuration of IC 741

- State the important ideal and practical characteristics of an op-amp.

- Explain the working of op-amp as comparator.

- What are the limitations of open-loop configuration

- Explain the working of inverting amplifier configuration of op-amp and derive the voltage gain equation.

- Explain the concept of virtual ground.

- Explain the working of non-inverting amplifier configuration of op-amp and derive the voltage gain equation.

- Explain the use of op-amp as a)Voltage follower, b) Scale changer, c)Summing amplifier, d)Differentiator and e) Integrator.

- Solve simple  problems on above circuits

- Define feedback and feedback factor.

- Explain negative and positive feedback.

- Draw the block diagram of feed-back amplifier and explain.

- Derive the expression for gain of a feed-back amplifier.

- State the effect of negative feedback on gain, band-width, noise and distortion, input and output impedance.

- List the advantages of negative feed-back.

- List the application of negative and positive feedback.

- Define Oscillator.

- Classify different types of oscillators.

- State Barkhausen criteria for oscillator.

- Explain the working of Hartley Oscillator.

- Explain the working of Colpitts Oscillator.

- Explain the working of RC phase shift Oscillator.

- Explain the working of UJT relaxation Oscillator.

- List the applications of oscillators.

Suggested Student Activities

- Student visits library to refer to Electronic Journals

- Student visits the Lab to construct the circuits on a bread board

- Ask the students to purchase different electronic devices from a shop

- Making use of online simulation laboratories

- Group discussion

- Surprise test

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 2 | 2 | 1 | 1 |  |  |  |  |  | 2 | 1, 2, 4, 10 |
| CO2 | 2 | 2 |  |  |  |  |  |  |  | 3 | 1, 2,10 |
| CO3 | 1 | 2 |  | 1 |  |  |  |  |  |  | 1, 2, 4 |
| CO4 | 1 | 2 |  | 1 |  |  |  |  |  | 3 | 1, 2, 4, 10 |
| CO5 | 1 | 2 |  | 1 |  |  |  |  |  | 3 | 1, 2, 4, 10 |
| CO6 | 1 | 2 |  | 1 |  |  |  |  |  | 3 | 1, 2, 4,10 |

Internal Evaluation

| Test | Units | Marks |
| --- | --- | --- |
| Mid Sem 1 | 1 and 2 | 20 |
| Mid Sem 2 | 3 and 4 | 20 |
| Slip Test 1 | 1 and 2 | 5 |
| Slip Test 2 | 3 and 4 | 5 |
| Assignments | - | 5 |
| Seminars | - | 5 |
|  | Total | 60 |

QUESTION PAPER PATTERN FOR MID SEMESTER EXAMS

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 4 | 1 | Nil | 4 Marks |
| 02 | Part-B | Understanding(U) | 4 | 3 | 2 | 6 Marks |
| 03 | Part-C | Application(A) | 4 | 5 | 2 | 10 Marks |
| Total Marks |  |  |  |  |  | 20 Marks |

MID SEM-I EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-I | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-II | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

MID SEM-II EXAM

| S.No | Unit No | R | U | A | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Unit-III | 1,2 | 5(a) | 7(a) |  |
|  |  |  | 5(b) | 7(b) |  |
| 2 | Unit-IV | 3,4 | 6(a) | 8(a) |  |
|  |  |  | 6(b) | 8(b) |  |
| Total Questions |  | 4 | 4 | 4 |  |

The length of answer for each question framed in respect of Part-A, B&C shall not exceed ¼ of a page,1 page and 2 pages respectively

QUESTION PAPER PATTERN FOR  SEMESTER END EXAM

| Sl.No | Description | Level | No of Questions | Marks for each question | Choice | Total Marks |
| --- | --- | --- | --- | --- | --- | --- |
| 01 | Part-A | Remembering(R) | 8 | 1 | Nil | 8 Marks |
| 02 | Part-B | Understanding(U) | 8 | 3 | 4 | 12 Marks |
| 03 | Part-C | Application(A) | 8 | 5 | 4 | 20 Marks |
| Total Marks |  |  |  |  |  | 40 Marks |

| Unit No | Questions to be set for SEE |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | R |  |  | U | A |
| I | 4 | 1 |  | 9(a) | 13(a) |
| II |  |  |  |  |  |
| III |  | 2 |  | 10(a) | 14(a) |
| IV |  |  |  |  |  |
| V |  | 3 | 5, 6 | 9(b), 11(a), 11(b) | 13(b), 15(a), 15(b) |
| VI |  |  | 7, 8 | 10(b), 12(a), 12(b) | 14(b), 16(a), 16(b) |
| Total Questions | 8 |  |  | 8 | 8 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-I Examination

Corse Code: 18EE-305C							Duration: 1 Hour

Course Name: Electronic Circuits				 		Max.Marks: 20

PART-A

Answer all questions, Each Question carries one mark		4x1 = 4 Marks

- Define an Ideal Diode.

- Define Rectifier.

- Draw the symbol of N-channel Depletion type Mosfet.

- List any two applications of MOSFET.

PART-B

Answer the following questions. Each question carries three marks                  2x 3 = 6 Marks

a) State the need for filter in a rectifier based Dc power supply.

(OR)

b)Draw the circuit and state in brief working of series positive clipper.

a) Compare BJT and JFET

(OR)

b) FET is an unipolar device, Justify.

PART-C

Answer the following questions. Each question carries five marks                  2x5 = 10Marks

- a)  Explain the operation of Half-wave rectifier circuit with waveforms for a resistive load.

(OR)

b) Explain the operation of Zener diode voltage regulator.

- a) Explain how a JFET is used as a voltage variable resistor.

(OR)

b) Explain the construction and principle of operation of Enhancement type N-channel MOSFET

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-II Examination

Corse Code: 18EE-305C							Duration: 1 Hour

Course Name: Electronic Circuits						Max.Marks: 20

PART-A

Answer all questions, Each Question carries one mark		4x1 = 4 Marks

- Define transistor biasing.

- In which region the operating point of a transistor must be located for it to work as an amplifier?

- Define an amplifier.

- Define amplifier gain.

PART-B

Answer the following questions. Each question carries three marks                  2x 3 = 6 Marks

- a) Briefly state the concept of DC load line.

(OR)

b) State the necessity of proper biasing for a transistor amplifier.

- a) State the need for multi-stage amplifiers.

(OR)

b) List the applications of R-C coupled amplifiers.

PART-C

Answer the following questions. Each question carries five marks                  2x5 = 10Marks

- a)  Explain the need for stabilization and define the stability  factor.

(OR)

b) Explain collector to base biasing method for a transistor.

- a)  Explain the principle of operation and frequency response of two stage RC coupled amplifier with circuit diagram.

(OR)

b) Explain the working of class-B push-pull power amplifier.

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code: 18EE-305C						Duration: 2 Hours

Course Name: Electronic Circuits					Maximum .Marks: 40

PART-A

Answer all questions						8x1 = 8 Marks

- Draw the symbol of n-channel JFET.

- Define the term frequency response for an amplifier.

- Define feed-back factor.

- Define Peak Inverse voltage of a diode.

- Draw the symbol of OP-Amp.

- Define CMRR of an OP-Amp.

- Define an oscillator.

- State Barkhausen criteria for oscillator.

PART-B

Answer the following questions					4x3= 12 Marks

  - List different types of MOSFETs  and draw their symbols.

(OR)

  - Draw the pin configuration of IC 741.

  - State the necessity of proper biasing for a transistor amplifier.

(OR)

  - Derive the expression for gain of a Negative feed-back amplifier

  - State the important ideal characteristics of an op-amp.

(OR)

  - Briefly state  the concept of virtual ground.

  - Classify different types of oscillators.

(OR)

  - State the role of RC network in RC phase-shift oscillator and write the expression for frequency of oscillation.

PART-C

Answer the following questions					4x 5=20 Marks

  - Explain the operation of full-wave center-tapped rectifier circuit with waveforms and circuit for a R-load.

(OR)

  - Explain the use of OP-Amp as Summing amplifier.

  - Explain  the  principle  of  operation  of  direct  coupled  amplifier with circuit diagram.

(OR)

  - State the effect of negative feedback on gain, band-width, noise and distortion, input and output impedance.

  - Explain the working of non-inverting amplifier configuration of op-amp and derive the voltage gain equation.

(OR)

  - Explain the use of op-amp as a Differentiator.

  - Explain the working of Hartley Oscillator.

(OR)

  - Explain the working of UJT relaxation Oscillator.

CIRCUITS LAB PRACTICE

| Course Title : | : Circuits Lab Practice | Course Code | : 18EE-306P |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Practical |
| Teaching Scheme in Periods(L:T:P) | : 15:0:30 | Credits | : 1.5 |
| Methodology | : Lecture + Practical | Total Contact Periods | : 45Pds |
| CIE | : 60 Marks | SEE | : 40 Marks |

Pre requisites:

This course requires

- Data handling through graphs:

  - Select proper X & Y parameters

  - Choose proper scale

  - Analyse the trend of the graph

  - Correlate trend of the graph with the relation between the parameters

- Use of Voltmeter, Ammeter, Wattmeter & CRO

- The knowledge of electrical circuits

Course Outcomes:

At the end of the course the students will have the ability to:

| Course Outcomes |  |
| --- | --- |
| CO1 | Verify Ohms law |
| CO2 | Apply Kirchhoff’s laws to solve electric circuits |
| CO3 | Apply network theorems to solve electric circuits |
| CO4 | Verify the voltage, current phasor relationship in 1-Φ AC circuits with R, RL and RC loads |

Suggested Learning Outcomes

- Verify Ohms law

  - Verify Ohm’s law

  - Verify limitations of Ohm’s law

- Apply Kirchhoff’s laws to solve electric circuits

  - Verify Kirchhoff’s current law in a DC circuit

  - Verify Kirchhoff’s voltage law in a DC circuit

- Apply network theorems to solve electric circuits

  - Verify Thevenin’s theorem in a DC circuit

  - Verify Norton’s theorem in a DC circuit

  - Verify Maximum power transfer theorem in a DC circuit

3.4 Verify Super position theorem in a DC circuit with two sources

- Verify the voltage, current phasor relationship in 1-Φ AC circuits with R, RL and RC loads

  - Verify that the voltage and current for 1-Φ AC circuit with pure R- load are in-phase using CRO and draw the phasor diagram.

  - Verify that the current in 1-Φ AC circuit with pure RL - load lags the voltage using CRO and  draw the phasor diagram.

  - Verify that the current in 1-Φ AC circuit with pure RC - load leads the voltage using CRO and  draw the phasor diagram.

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |
| CO2 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |
| CO3 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |
| CO4 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 | 3 | 1,2,3,4,8,9 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-I Examination

Corse Code: 18EE-306P							Duration: 1 Hour

Course Name: Circuits Lab Practice				 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

  - Verify Ohm’s law

  - Verify limitations of Ohm’s law

  - Verify Kirchhoff’s current law in a DC circuit

  - Verify Kirchhoff’s voltage law in a DC circuit

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-II Examination

Corse Code: 18EE-306P							Duration: 1 Hour

Course Name: Circuits Lab Practice				 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

  - Verify Thevenin’s theorem in a DC circuit

  - Verify Norton’s theorem in a DC circuit

  - Verify Maximum power transfer theorem in a DC circuit

  - Verify Super position theorem in a DC circuit with two sources

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Corse Code: 18EE-306P							Duration: 2 Hour

Course Name: Circuits Lab Practice				 		Max.Marks: 40

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

    - Verify Ohm’s law

    - Verify limitations of Ohm’s law

    - Verify Kirchhoff’s current law in a DC circuit

    - Verify Kirchhoff’s voltage law in a DC circuit

    - Verify Thevenin’s theorem in a DC circuit

    - Verify Norton’s theorem in a DC circuit

    - Verify Maximum power transfer theorem in a DC circuit

    - Verify Super position theorem in a DC circuit with two sources

    - Verify that the voltage and current for 1-Φ AC circuit with pure R- load are in-phase using CRO and draw the phasor diagram.

    - Verify that the current in 1-Φ AC circuit with pure RL - load lags the voltage using CRO and  draw the phasor diagram.

    - Verify that the current in 1-Φ AC circuit with pure RC - load leads the voltage using CRO and  draw the phasor diagram.

DC MACHINES LAB PRACTICE

| Course Title : | : DC Machines Lab Practice | Course Code | 18EE-307P |
| --- | --- | --- | --- |
| Semester | : III | Course Group | Practical |
| Teaching Scheme in Periods (L:T:P) | : 15:0:30 | Credits | 1.5 |
| Methodology | : Lecture + Practical | Total Contact Periods | 45 |
| CIE | : 60 Marks | SEE | 40 Marks |

Pre requisites

This course requires the skills of handling electrical tools, accessories and performing wiring connections

Course Outcomes

At the end of the course the students will have the ability to:

| Course Outcomes |  |
| --- | --- |
| CO1 | Identify the terminals of DC Motors and parts of Starters |
| CO2 | Sketch the performance characteristics of DC Motors by conducting suitable Tests. |
| CO3 | Apply various speed control methods on DC motors |
| CO4 | Draw and interpret the performance characteristics of DC Generators by Conducting suitable experiments. |

Suggested Learning Outcomes

1.0  Identify the terminals of DC Motors and parts of Starters.

1.1  Identify the terminals of DC Shunt Motors

1.2  Identify the terminals of DC Series Motors

1.3  Identify the terminals of DC Compound Motors

1.4  Identify the parts of DC 3 point starter

1.5  Identify the parts of DC 4 point starter

2.0   Sketch the performance characteristics of DC Motors by conducting suitable Tests.

2.1. Obtain performance characteristics by conducting Brake Test on DC Shunt Motor

2.2. Obtain performance characteristics by conducting Brake Test on DC Series Motor.

2.3. Obtain performance characteristics by conducting Brake Test on DC Compound Motor.

  - Obtain performance of DC Shunt Motor by conducting Swinburne’s Test.

3.0  Apply various speed control methods on DC motors

3.1 Speed control of DC Shunt Motor by Armature  control method

3.2 Speed control of DC Shunt Motor by Field control method

4.0  Draw and interpret the performance characteristics of DC Generators by Conducting suitable experiments.

4.1 Obtain OCC of a DC shunt Generator at rated speeds

4.2 Obtain Internal and External characteristics of DC Shunt Generator

4.3 Obtain Internal and External characteristics of DC Series Generator.

4.4 Obtain Internal and External characteristics of DC Compound Generator

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 |  | 3 | 3 | 1 |  |  |  | 3 | 2 |  | 2,3,4,8,9 |
| CO2 | 2 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |
| CO3 | 2 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |
| CO4 | 2 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2,3,4,8,9 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-I Examination

Course Code: 18EE-307P							Duration: 1 Hour

Course Name: DC Machines Lab Practice			 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Identify the terminals of  DC Shunt motor

- Identify the terminals of  DC Series motor

- Identify the terminals of  DC Compound motor

- Identify the parts of a 3 point starter

- Identify the parts of a 4 point starter

- Obtain performance characteristics by conducting Brake Test on DC Shunt Motor

- Obtain performance characteristics by conducting Brake Test on DC Series Motor.

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-II Examination

Course Code: 18EE-307P							Duration: 1 Hour

Course Name: DC Machines Lab Practice			 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Obtain performance characteristics by conducting Brake Test on DC Compound Motor.

- Obtain performance of DC Shunt Motor by conducting Swinburne’s Test.

- Speed control of DC Shunt Motor by Armature  control method

- Speed control of DC Shunt Motor by Field control method

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Course Code: 18EE-307P							Duration: 2 Hour

Course Name: DC Machines Lab Practice				 	Max.Marks: 40

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Identify the terminals of  DC Shunt motor

- Identify the terminals of  DC Series motor

- Identify the terminals of  DC Compound motor

- Identify the parts of a 3 point starter

- Identify the parts of a 4 point starter

- Obtain performance characteristics by conducting Brake Test on DC Shunt Motor

- Obtain performance characteristics by conducting Brake Test on DC Series Motor.

- Obtain performance characteristics by conducting Brake Test on DC Compound Motor.

- Obtain performance of DC Shunt Motor by conducting Swinburne’s Test.

- Speed control of DC Shunt Motor by Armature  control method

- Speed control of DC Shunt Motor by Field control method

- Obtain OCC of a DC shunt Generator at rated speeds

- Obtain Internal and External characteristics of DC Shunt Generator

- Obtain Internal and External characteristics of DC Series Generator.

- Obtain Internal and External characteristics of DC Compound Generator

ELECTRICAL MEASUREMENTS LAB PRACTICE

| Course Title : | : Electrical Measurements Lab Practice | Course Code | : 18EE-308P |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Practical |
| Teaching Scheme in Periods(L:T:P) | : 15:0:30 | Credits | : 1.5 |
| Methodology | : Lecture + Practical | Total Contact Periods | : 45 |
| CIE | : 60 Marks | SEE | 40 Marks |

Pre requisites

This course requires the knowledge of basic electricity and fundamentals of various measuring instruments

Course Outcomes

At the end of the course the students will have the ability to:

| Course Outcome |  |
| --- | --- |
| CO1 | Compare calibrated meter readings with standard meters |
| CO2 | Illustrate the methods of range extension in A.C. & D.C. meters |
| CO3 | Interpret the various methods to measure unknown resistance |
| CO4 | Demonstrate various methods of measuring power in three phase circuit |

Suggested Learning Outcomes

1.0 Compare calibrated meter readings with standard meters

1.1 Calibration and testing of single phase energy meter

1.2 Calibration of dynamometer wattmeter

1.3 Calibration of PMMC Ammeter and PMMC voltmeter

1.4 Calibration of LPF wattmeter

2.0 Illustrate the methods of range extension in A.C. & D.C. meters

2.1 Extend the range of D.C. ammeter by using shunt resistances (low range to high range)

2.2 Extend the range of D.C. voltmeter by using series multiplier(low range to high range)

2.3 Extend the range of A.C. ammeter by using C.T.(high range to low range)

2.4 Extend the range of A.C. voltmeter by using P.T.(high range to low range)

3.0 Interpret the various methods to measure unknown resistance

3.1 Measurement of low and medium resistance by volt-ampere method

3.2 Measurement of resistance by Kelvin’s double Bridge.

3.3 Measurement of earth resistance using digital earth tester

3.4 Measurement of insulation resistance using digital insulation tester

4.0 Demonstrate various methods of measuring power in three phase circuit

4.1 Measurement of  power in a three-phase balanced circuit with two watt meter method

4.2 Measurement of three phase power by 3-voltmeter and 3-Ammeter methods

Note:

1. Every student has to bring insulated tool kit and follow the general safety precautions throughout the lab sessions

2. Whenever handling/using a meter check for 'zero' position of the pointer and adjust for 'zero' position if there is any deviation.

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1, 2, 3, 4, 8, 9 |
| CO2 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1, 2, 3, 4, 8, 9 |
| CO3 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2, 3, 4, 8, 9 |
| CO4 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2, 3, 4, 8, 9 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-I Examination

Course Code: 18EE-308P								Duration: 1 Hour

Course Name: Electrical Measurements Lab Practice			 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Calibration and testing of single phase energy meter

- Calibration of dynamometer wattmeter

- Calibration of PMMC Ammeter and PMMC voltmeter

- Calibration of LPF wattmeter

- Extend the range of D.C. ammeter by using shunt resistances (low range to high range)

- Extend the range of D.C. voltmeter by using series multiplier(low range to high range)

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-II Examination

Course Code: 18EE-308P							Duration: 1 Hour

Course Name: Electrical Measurements Lab Practice		 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Extend the range of A.C. ammeter by using C.T.(high range to low range)

- Extend the range of A.C. voltmeter by using P.T.(high range to low range)

- Measurement of low and medium resistance by volt-ampere method

- Measurement of resistance by Kelvin’s double Bridge.

- Measurement of earth resistance using digital earth tester

- Measurement of insulation resistance using digital insulation tester

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Course Code: 18EE-308P							Duration: 2 Hour

Course Name: Electrical Measurements Lab Practice			 	Max.Marks: 40

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Calibration and testing of single phase energy meter

- Calibration of dynamometer wattmeter

- Calibration of PMMC Ammeter and PMMC voltmeter

- Calibration of LPF wattmeter

- Extend the range of D.C. ammeter by using shunt resistances (low range to high range)

- Extend the range of D.C. voltmeter by using series multiplier(low range to high range)

- Extend the range of A.C. ammeter by using C.T.(high range to low range)

- Extend the range of A.C. voltmeter by using P.T.(high range to low range)

- Measurement of low and medium resistance by volt-ampere method

- Measurement of resistance by Kelvin’s double Bridge.

- Measurement of earth resistance using digital earth tester

- Measurement of insulation resistance using digital insulation tester

- Measurement of  power in a three-phase balanced circuit with two watt meter method

- Measurement of three phase power by 3-voltmeter and 3-Ammeter methods

ELECTRONICS LAB PRACTICE

| Course Title | :Electronics Lab Practice | Course Code | :18EE-309P |
| --- | --- | --- | --- |
| Semester | :III | Course Group | :Practical |
| Teaching Scheme in Periods (L:T:P) | :15:0:30 | Credits | :1.5 |
| Methodology | :Lecture + Practical | Total Contact Periods | :45 |
| CIE | :60 marks | SEE | :40 Marks |

Pre requisites

Basic knowledge of semiconductor devices and basic electrical and electronics principles.

Course Outcomes

At the end of the course the students will have the ability to:

| Course Outcome |  |
| --- | --- |
| CO1 | Measure voltage, frequency and phase of any waveform using CRO and function generator |
| CO2 | Analyze rectifier circuits and regulated power supplies. |
| CO3 | Obtain the characteristics of FET |
| CO4 | Analyze the effect to varying feed-back circuit values on frequency of an oscillator circuit. |
| CO5 | Design various Op-Amp circuits |

Suggested Learning Outcomes

1.0 Measure voltage, frequency and phase of any waveform using CRO and function generator

  - Familiarize with CRO front panel controls and observe the effect of different settings to set  intensity, Astigmatism and Focus controls to display

| i) Medium frequency | ii) Low frequency | iii) High frequency |
| --- | --- | --- |

  - Set the controls of function generator and CRO to observe flicker free waveforms.

  - Measure amplitude, frequency, and time period of a signal from function generator by using CRO.

- Analyze rectifier circuits and regulated power supplies.

- Construct and test a switching circuit with diode as switching element.

- Construct and test an unbiased i) Serial ii) Parallel clipper circuit.

- Implement half wave rectifier with and without filter.

- Implement Full-wave centre-tapped and Bridge rectifier with and without filter.

- Build a regulated power supply and draw regulation characteristics using

| i) Zener Diode | ii) Positive 3 terminal regulator. |
| --- | --- |

- Implement a negative 3 Terminal Regulator and draw the regulation characteristics.

- Obtain the characteristics of FET

- Draw input and output characteristics of JFET and determine Pinch-Off voltage and Trans-conductance.

- Show that a FET can be used as a constant current source with appropriate bias.

- Apply -2 V to the gate circuit through resistors of value 10K, 100K and 1M separately and measure the output current and analyze.

- Analyze the effect to varying feed-back circuit values on frequency of an oscillator circuit.

- Construct RC coupled amplifier and draw its frequency response

- Implement Hartley’s and Colpitts oscillator and verify the effect of varying Tank circuit component values and observe wave form on CRO.

- Construct RC phase shift oscillator and observe frequency by varying either R or C values

- Design various Op-Amp circuits

- Obtain the specifications of Operational amplifier 741 and Quad Op-amp LM 324 and comparator LM 339 ICs from data sheets

- Construct and verify Inverting, non inverting amplifier and Buffer using Op-amp.

- Construct and verify summing and difference amplifier using Op-amp.

- Construct and verify differentiator or integrator  using Op-amp.

CO-PO Mapping Matrix

|  | Basic knowledge | Discipline Knowledge | Experiments and practice | Engineering Tools | Engineer and society | Environment & sustainability | Ethics | Individual and Team work | Communication | Lifelong learning | Linked PO |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CO\PO | PO 1 | PO 2 | PO 3 | PO 4 | PO 5 | PO 6 | PO 7 | PO 8 | PO 9 | PO 10 |  |
| CO1 |  | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 2, 3, 4, 8, 9 |
| CO2 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1, 2, 3, 4, 8, 9 |
| CO3 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2, 3, 4, 8, 9 |
| CO4 | 1 | 3 | 3 | 3 |  |  |  | 3 | 2 |  | 1,2, 3, 4, 8, 9 |

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-I Examination

Course Code: 18EE-309P								Duration: 1 Hour

Course Name: Electronics Lab Practice				 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- To familiarize with CRO front panel controls and observe the effect of different settings to set  intensity, Astigmatism and Focus controls to display i) Medium frequency

- To set the controls of function generator and CRO to observe flicker free waveforms.

- Measure amplitude, frequency, and time period of a signal from function generator by using CRO.

- To construct and test a switching circuit with diode as switching element.

- Construct and test an unbiased Serial clipper circuit.

- Construct and test an unbiased Parallel clipper circuit.

- Implement half wave rectifier with and without filter.

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Mid Semester-II Examination

Course Code: 18EE-309P							Duration: 1 Hour

Course Name: Electronics Lab Practice			 		Max.Marks: 20

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- Implement Full-wave centre-tapped and Bridge rectifier with and without filter.

- To build a regulated power supply and draw regulation characteristics using zener diode

- To build a regulated power supply and draw regulation characteristics using positive three terminal regulator

- Implement a negative 3 Terminal Regulator and draw the regulation characteristics.

- Draw input and output characteristics of JFET and determine Pinch-Off voltage and Trans-conductance.

- Show that a FET can be used as a constant current source with appropriate bias.

- Apply 2 V to the gate circuit through resistors of value 10K, 100K and 1M separately and measure the output current and analyze

State Board of Technical Education and Training, Telangana

Model Question paper

DEEE III Semester

Semester End Examination

Course Code: 18EE-309P							Duration: 2 Hour

Course Name: Electronics Lab Practice				 	Max.Marks: 40

Note: Answer allotted Question.

Instructions to the Candidate:

(i)Record the results on a graph sheet if required, and conclude your observation of the experiment

(ii) Draw the circuit diagram for illustration; choose appropriate values when not mentioned in the question

- To familiarize with CRO front panel controls and observe the effect of different settings to set  intensity, Astigmatism and Focus controls to display i) Medium frequency

- To set the controls of function generator and CRO to observe flicker free waveforms.

- Measure amplitude, frequency, and time period of a signal from function generator by using CRO.

- To construct and test a switching circuit with diode as switching element.

- Construct and test an unbiased Serial clipper circuit.

- Construct and test an unbiased Parallel clipper circuit.

- Implement half wave rectifier with and without filter.

- Implement Full-wave centre-tapped and Bridge rectifier with and without filter.

- To build a regulated power supply and draw regulation characteristics using zener diode

- To build a regulated power supply and draw regulation characteristics using positive three terminal regulator

- Implement a negative 3 Terminal Regulator and draw the regulation characteristics.

- Draw input and output characteristics of JFET and determine Pinch-Off voltage and Trans-conductance.

- Show that a FET can be used as a constant current source with appropriate bias.

- Apply 2 V to the gate circuit through resistors of value 10K, 100K and 1M separately and measure the output current and analyse

- Construct RC coupled amplifier and draw its frequency response

- To implement Hartley’s and Colpitts oscillator and verify the effect of varying Tank circuit component values and observe wave form on CRO.

- Construct RC phase shift oscillator and observe frequency by varying either R or C values

- Obtain the specifications of Operational amplifier 741 and Quad Op-amp LM 324 and comparator LM 339 ICs from data sheets

- Construct and verify Inverting, non inverting amplifier and Buffer using Op-amp.

- Construct and verify summing and difference amplifier using Op-amp.

- Construct and verify differentiator or integrator  using Op-amp.

COMMUNICATION SKILLS AND LIFE SKILLS

| Course Title | : Communication Skills and Life Skills | Course Code | : 18EE-310P |
| --- | --- | --- | --- |
| Semester | : III | Course Group | : Practical |
| Teaching Scheme in Periods(L:T:P) | : 15:0:30 | Credits | : 1.5 |
| Methodology | : Lecture + Practical | Total Contact Periods | : 45 |
| CIE | : 60 Marks | SEE | 40 Marks |

Pre requisites

This course requires the basic knowledge of vocabulary, grammar, and four language learning skills, viz. Listening, Speaking, Reading and Writing.

Course Outcomes

At the end of the course the students will have the ability to:

|  | At the end of the course the students will have the ability to: |
| --- | --- |
| Listening Skills | Identify the main or the central idea. Listen for specific details. Learn the pronunciation. |
| Communication Skills – I | Learn relevant vocabulary to make introductions. Learn to introduce oneself in formal and informal situations. Learn vocabulary and expressions useful for describing objects Describe objects |
| Communication Skills – II | Learn vocabulary to talk about the past Describe the incidents that happened in the past Learn the techniques of organising the matter / content for one-minute speech. Speak fluently and accurately using appropriate body language. |
| Life Skills – I | Think positively. Develop positive attitude. Overcome negative attitude. Know the importance of setting goals. Set goals using SMART features. |
| Life Skills – II | Know the reasons for a problem. Learn to overcome problems. Learn the various techniques to solve the problems. Learn to make proper decisions on time. Think ‘out of the box’. Learn to be creative. Think innovatively. Think critically. |
| Life Skills – III | Know how to be a leader. Learn the qualities of a good leader. Learn the qualities of a good team. Learn the advantages and disadvantages of a team. Manage time effectively. Learn various time management techniques. Learn the importance of prioritisation. |

CO-PO Matrix

|  | Course Outcome |  | Linked PO |
| --- | --- | --- | --- |
| CO 1 | Listening for main idea and specific details | R/U/A | 1, 2, 3, 4, 5,7,8, 9,10 |
| CO 2 | Introduce oneself and Describe Objects | R/U/A | 1,2,3,8,9,10 |
| CO 3 | Talk about the past and speak fluently for one minute | R/U/A | 1,2,3,7,8.9,10 |
| CO 4 | Develop positive attitude and set short term and long term goals | R/U/A | 1,2,3,7,8,9,10 |
| CO 5 | Learn to solve a problem, make decisions and think innovatively | R/U/A | 1,2,3,7,8,9,10 |
| CO6 | Learn to become a good team member and leader | R/U/A | 1,2,3,7,8,9,10 |

Course Contents:

- Listening Skills 						Duration: 9

- Listening – I

- Digital Camera

- A Dialogue

- Wild Animal / Human conflict

- Listening – II

- A Recipe

- A Telephone conversation

- An Interview

- Communication Skills – I				Duration:6

- Introducing Oneself

- Describing Objects

- Communication Skills – II				Duration:6

- Talking About the Past

- Just A Minute

- Life Skills – I						Duration:6

- Attitude

- Goal Setting

- Life Skills – II						Duration:9

9. Problem Solving and Decision-Making Skills

10.  Critical Thinking & Creativity

- Life Skills – III						Duration:9

11. Leadership and Teamwork

12. Time Management

Suggested Student Activities

- Listening Comprehension

- Seminars

- Paper Presentations

- Line ups for introducing oneself

- Describing persons / places / things

- Picture description

- Role Plays

- Dumb charades

- What is in the bag? (Identify the objects)

- Games using Online Dictionaries

- Sharing the information using emails, chats and groups

- Just A Minute

- Writing diary events

- Find a solution to the problem

- Making innovative things through recycling

- Creating advertisements

- Five-minute activities on Life Skills

- Watching videos on life skills and making presentations

- Case studies

Evaluation Pattern

- Continuous Internal Examination: 				60 Marks

- Mid Sem- I  						20 marks

Syllabus:

- Listening Skills

- Communication Skills - I

- Mid Sem – II						20 Marks

Syllabus:

- Communication Skills - II

- Life Skills - I

- Internal assessment: 					20 marks

- Seminars:				   	10 marks

- Assignments: 					5 marks

- Lab record submission: 	                        5 marks

- Semester End Examination : 					40 Marks

- Listening:						10 Marks

- JAM or Role plays: 					15 Marks

- Viva Voce on any life skills topic :			15 Marks

References

Flint, Chrisand Jamie FlockhartListening: A2 (Collins English for Life: Skills)Collins. 2013

Brown, Stephen E. English in Everyday Life. McGraw-Hill Education.2008

# Mohanraj, Jayashree. Let Us Hear Them Speak: Developing Speaking-Listening Skills in English.Sage. 2015

# Susan Earle – Carlin. Q Skills for Success: Listening and Speaking 5: Student Book with Online Practice. Oxford University Press. 2013

# Kumar, Sanjay and Pushpa Latha. Communication Skills: A Work Book.Oxford University Press. 2018

# Carnegie, Dale.The Leader in You. Simon & Schuster: 1995

# Carnegie, Dale.The Art of Public Speaking. Prabhat Prakashan. NewDelhi.2013

# Kaye, Martin. Goal Setting (Workbook Included): Goals & Motivation: Introduction To A Complete & Proven Step-By-Step Blueprint For Reaching Your Goals (Goal Setting Master Plan 1). Kindle Edition. MK Coaching.2016.

# West, Steven. Critical Thinking Skills: Practical Strategies for Better Decision making, Problem-Solving and Goal Setting. Kindle Edition.2018

Tracy, Brain. Goals. Berret-Koehler PublishersInc. San Francisco. 2017

Tracy, Brain. Master your Time Master your Life. Penguin Random House Inc. New York. 2017

Sean Covey . The 7 Habits of Highly Effective Teens. Simon and Schuster,2011

E-Learning Resources

http://www.bbc.co.uk/worldservice/learningenglish/youmeus/learnit/learnitv39.shtml

https://www.examenglish.com/leveltest/listening_level_test.htm

https://www.oxfordonlineenglish.com/listening?utm_referrer=https%3A%2F%2Fwww.google.co.in%2F

https://takeielts.britishcouncil.org/prepare-test/free-ielts-practice-tests/listening-practice-test-1

https://learnenglish.britishcouncil.org/en/listening

https://www.cambridgeenglish.org/learning-english/activities-for-learners/?skill=listening

https://www.businessenglishsite.com/business-english-listening.html

BOARD DIPLOMA EXAMINATION (C-18)

THIRD SEMESTER 18 COMMON-310P

COMMUNICATION SKILLS AND LIFE SKILLS

MID SEM - I

Time : 1  Hour                                                                                         Total Marks: 20 Marks

Part – A			10 marks

1.  Listening Comprehension:							5 X 2 = 10

(Teacher should give the questions before reading the passage given below)

Florence Nightingale was an English social reformer and a statistician, and the founder of modern nursing.  She was born in Florence, Italy, on May 12, 1820. Part of a wealthy family, Nightingale defied the expectations of the time and pursued what she saw as her God-given calling of nursing during the Crimean War. She and a team of nurses improved the unsanitary conditions at a British base hospital, greatly reducing the death count. Her writings sparked worldwide health care reform, and in 1860 she established St. Thomas' Hospital and the Nightingale Training School for Nurses. A revered hero of her time, she died on August 13, 1910, in London. Nightingale came to prominence while serving as a manager and trainer of nurses during the Crimean War, in which she organized care for wounded soldiers. She gave nursing a favourable reputation and became an icon of Victorian culture, especially in the persona of "The Lady with the Lamp" making rounds of wounded soldiers at night.

Questions:

- Who was Florence Nightingale?

- When and where was she born?

- What does the passage convey?

- When did she pass away?

- Where did she establish nursing school?

PART- B				10 Marks

Instruction: Answer any one of the questions in 150 words.

2. How do you introduce yourself formally in an interview?

3. Describe your polytechnic.

BOARD DIPLOMA EXAMINATION (C-18)

THIRD SEMESTER 18 COMMON-310P

COMMUNICATION SKILLS AND LIFE SKILLS

MID SEM - II

Time : 1  Hour                                                                                         Total Marks: 20 Marks

Part – A			10 marks

Instruction: Answer any one of the following questions in 150 words.

1. Describe how you have spent your summer vacation.

2. What are the features of good JAM presentation? What precautions do you before speaking for one minute on the given topic?

Part – B			10 marks

Instruction: Answer any one of the following questions in 150 words.

3. What is positive attitude?  Give examples of positive attitude from your life.

4. Mention your long term goal with SMART features.  How do you achieve it?

BOARD DIPLOMA EXAMINATION (C-18)

THIRD SEMESTER 18 COMMON-310P

COMMUNICATION SKILLS AND LIFE SKILLS

SEMESTER END EXAM

Time : 3 Hours                                                                                         		Total Marks: 40 Marks

Part – A					10 marks

      - Listen to the following passage and answer the questions give below it.   5 X 2 = 10

(Teacher should give the questions before reading the passage)

Answer the following questions after teacher reads the following paragraph.

Prof. Jayashankar was born to Mahalaxmi and Laxmi Kantha Rao on 6th August 1934 in Akkampet village, Warangal District. He was a Doctorate in Economics. He worked as a Vice-Chancellor of Kakatiya University. He worked in many capacities. He was popularly known as “Pedda Sir.” He inspired many a people to fight for the cause of Telangana Statehood.

At the age of twelve, Jayashankar refused to sing songs in praise of the Nizam and insisted on singing Vande Mataram instead. As an intermediate student, in 1952, he protested against State Reorganization Committee plan to merge with the Andhra Rashtra. He took an active part in the agitations of “Non – Mulki go back“ and “ Idli Sambar go back.” He took an active part in Telangana separate statehood agitation in 1969 too. In 1999, Prof. Jayashankar started the Telangana Development Forum in the USA which helped to propagate the injustice, discrimination and exploitation meted out to Telangana region and people in the aspects of employment, funds and water resources. He relentlessly put his efforts to end the struggle of Telangana people. He passed away on June 21, 2011. He was 76 years old at the time of his death.

Questions:

- Where was Prof. Jayashankar born?

- Why didn’t he sing songs in praise of the Nizam?

- Why did Jayashankar start the Telangana Development Forum in USA?

- What are the two agitations in which he took an active part?

- What is the meaning of ‘relentlessly’?

Part – B			15 marks

      - JAM / Role Plays

Part – C			15 marks

3. Viva Voce on Life Skills topics

DEEE SKILL UPGRADATION ACTIVITY SHEET

| Course Title : Skill Upgradation Semester : III Methodology : Activities | Credits :2.5 Total Contact Periods : 105 |
| --- | --- |

Suggested Course Outcomes

- Address the identified needs of the community collaboratively to facilitate positive social change.

- Prepare a chart related to the topics covered in the present semester.

- Listen to expert talk, guest lecture, youtube video and write a summary.

- Participate in Haritha Haram and submit a small report about the activities.

- Prepare a report / PPT / poster on waste water recycling or any eco-friendly practices.

- Seminar on problems with possible solutions in the campus or nearby places

- Group discussions or enacting a play on topics creating awareness about socio-economic problems

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Participate in NCC

(PO5, 6, 7, 8, 9, 10)

## Listen attentively to others and respond appropriately

- Listen to expert talk, guest lecture, youtube video and write a summary.

- Participating in Group discussions or enacting a play on topics creating awareness about socio-economic problems that can be mitigated by technologies.

- Participate in quiz on technical aspects or current affairs

- Participate in Mock Interview

(PO5, 7, 8, 9, 10)

- Adapt your style to the occasion, task, and audience

- Group discussions or enacting a play on topics creating awareness about socio-economic problems that can be mitigated by technologies.

- Seminar on problems with possible solutions in the campus or nearby places

- Participate in Mock Interview

(PO5, 6, 7, 8, 9, 10)

- Articulate ideas in various formats including oral, written, nonverbal, visual, and electronic devices.

- Prepare a chart related to the topics covered in the present semester.

- Refer to an e-journal and submit a summary report on upcoming technologies.

- Visit factory / industry and submit a report/PPT on the observations made.

- Prepare a mini project and submit report.

- Prepare a report / PPT / poster on waste water recycling or any eco-friendly practices.

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Seminar on problems with possible solutions in the campus or nearby places

- Participate in Mock Interview

(PO5, 6, 7, 8, 9, 10)

## Demonstrate ability to recognize and effectively manage ambiguous ideas, experiences and situations

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Seminar on problems with possible solutions in the campus or nearby places

(PO5, 6, 7, 8, 9, 10)

## Analyze the interconnections between individuals and society as well as how individual actions have an impact on others.

- Participate in Haritha Haram and submit a small report about the activities.

- Participate in Swatch Bharath and write an essay on the importance of the program

- Participate in NCC

(PO5, 6, 7, 8, 9, 10)

## Utilize others’ ideas, strengths, knowledge, and abilities to foster an inclusive environment & Develop and sustain healthy and meaningful relationships with others

- Prepare a mini project and submit report.

- Participate in Haritha Haram and submit a small report about the activities.

- Participate in Swatch Bharath and write an essay on the importance of the program

- Participate in NCC

(PO5, 6, 7, 8, 9, 10)

## Ability to recognize their strengths and those of others to work towards a shared vision.

- Prepare a mini project and submit report.

- Participate in Haritha Haram and submit a small report about the activities.

- Participate in Swatch Bharath and write an essay on the importance of the program

- Participate in NCC

(PO5, 6, 7, 8, 9, 10)

## Act in alignment with one’s own values to contribute to one’s life-long growth and learning.

- Physical activities such as sports, yoga, meditation and other relaxation techniques

(PO5, 6, 7, 8, 9, 10)

- Gain, process, and act upon knowledge regarding the effects of individual, community, national, and international level choices on ecosystems and people.

- Prepare a report / PPT / poster on waste water recycling or any eco-friendly practices.

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Seminar on problems with possible solutions in the campus or nearby places

(PO5, 6, 7, 8, 9, 10)

| CO | Outcome | CO/PO Mapping |
| --- | --- | --- |
| CO1 | - Address the identified needs of the community collaboratively to facilitate positive social change. | 5, 6, 7, 8, 9, 10 |
| CO2 | Listen attentively to others and respond appropriately | 5, 6, 7, 8, 9, 10 |
| CO3 | Adapt your style to the occasion, task, and audience | 5, 6, 7, 8, 9, 10 |
| CO4 | Articulate ideas in various formats including oral, written, nonverbal, visual, and electronic devices. | 5, 6, 7, 8, 9, 10 |
| CO5 | Demonstrate ability to recognize and effectively manage ambiguous ideas, experiences and situations | 5, 6, 7, 8, 9, 10 |
| CO6 | ## Analyze the interconnections between individuals and society as well as how individual actions have an impact on others. | 5, 6, 7, 8, 9, 10 |
| CO7 | ## Utilize others’ ideas, strengths, knowledge, and abilities to foster an inclusive environment & Develop and sustain healthy and meaningful relationships with others | 5, 6, 7, 8, 9, 10 |
| CO8 | ## Ability to recognize their strengths and those of others to work towards a shared vision | 5, 6, 7, 8, 9, 10 |
| CO9 | ## Act in alignment with one’s own values to contribute to one’s life-long growth and learning. | 5, 6, 7, 8, 9, 10 |
| CO10 | Gain, process, and act upon knowledge regarding the effects of individual, community, national, and international level choices on ecosystems and people. | 5, 6, 7, 8, 9, 10 |

Note: The above COs may be mapped to other POs from 1 to 4 apart from PO’s 5 to 10 depending on the topic

Suggested Student Activities

- Prepare a chart related to the topics covered in the present semester.

- Refer to an e-journal and submit a summary report on upcoming technologies.

- Visit factory / industry and submit a report/PPT on the observations made.

- Prepare a mini project and submit report.

- Listen to expert talk, guest lecture, youtube video and write a summary.

- Participate in Haritha Haram and submit a small report about the activities.

- Prepare a report / PPT / poster on waste water recycling or any eco-friendly practices.

- Take up a case study on identification of latest technologies to tackle day to day problems such as pollution control or traffic management and submit a report / PPT/ poster

- Participate in Swatch Bharath and write an essay on the importance of the program

- Group discussions or enacting a play on topics creating awareness about socio-economic problems

- Physical activities such as sports, games, yoga, meditation and other relaxation techniques

- Participate in quiz on technical aspects or current affairs

- Seminar on problems with possible solutions in the campus or nearby places

- Participate in NCC

- Participate in Mock interviews

Note: The above student activities will be assessed using rubrics. A sample rubrics template is given below. The subject teacher can assess students using rubrics with atleast four relevant aspects.

RUBRICS MODEL (For assessing Presentation skills)

| Aspects | Needs improvement | Satisfactory | Good | Exemplary |
| --- | --- | --- | --- | --- |
| Collection of data | Collects very limited information | Collect much Information with very limited relevance to the topic | Collects some basic information with little bit of irrelevance | Collects a great deal of information with relevance |
| Presentation of data | Clumsy presentation of data | Presents data well; but presentation needs to be more meaningful | Presents data well but need to improve clarity | Presents data in an understandable yet concise manner |
| Fulfill team’s roles & duties | Performs very little duties but Unreliable. | Performs very little duties and is inactive | Performs nearly all duties | Performs all duties of assigned team roles |
| Shares work equally | Rarely does the assigned work; often needs reminding | Usually does the assigned work; rarely needs reminding | Normally does the assigned work | Always does the assigned work without having to be reminded |
| Interaction with other team mates | Usually does most of the talking; rarely allows others to speak | Talks good; but never show interest in listening to others | Listens, but sometimes talks too much | Listens and speaks a fair amount |
| Audibility and clarity in speech | Hardly audible and unclear | Very little audibility and clarity | Audible most of the time with clarity | Audible and clear |
| Understanding content | Lacks content understanding and is clearly a work in progress | Little depth of content understanding | Some depth of content understanding is evident but needs improvement | Insight and depth of content understanding are evident |
| Content Presentation | Content is inaccurate and information is not presented in a logical order making it difficult to follow | Content is accurate and information is not presented in a logical order making it difficult to follow | Content is accurate but some information is not presented in a logical order but is still generally easy to follow | Content is accurate and information is presented in a logical order |

Suggested additional aspects for assessing Leadership Qualities:

- Carrying self

- Punctuality

- Team work abilities

- Moral values

- Communication skills

- Ensures the work is done in time

Suggested additional aspects for assessing “Participation in social task”

- Interested to know the current situation of society.

- Shows interest to participate in given social task.

- Reliable

- Helping nature

- Inter personal skills

- Ensures task is completed

Suggested additional aspects for assessing “Participation in Technical task”

- Updated to new technologies

- Identifies problems in society that can be solved using technology

- Interested to participate in finding possible technical solutions to identified project

- Reliable

- Interpersonal skills

Suggested additional aspects for Carrying Self:

- Stand or sit straight.

- Keep your head level.

- Relax your shoulders.

- Spread your weight evenly on both legs.

- If sitting, keep your elbows on the arms of your chair, rather than tightly against your sides.

- Make appropriate eye contact while communicating.

- Lower the pitch of your voice.

- Speak more clearly.